## DC2015
DISTRICT COOLING 31.12.2015 |  |  |  | Finland
CUSTOMERS AND SALES
|  |  | DC started | Customers |  |  |  | Cooling energy sold | Length of network
|  |  |  | Number | Number of buildings | Contracted effect | Building volume
|  |  |  | pcs | pcs | MW | 1000 m3 | MWh | km
| Fortum Power and Heat Oy |  | 2012 | 5 | 7 | 6.92 | 441.89 | 17574 | 2.437
| Helsingin Energia |  | 1998 | 309 | 309 | 177 | 15600 | 125000 | 65
| Lahti Energia Oy |  | 2000 | 1 | 1 | 0.6 | 90 | 65.3 | 1.2
| Lempäälän Lämpö Oy |  | 2008 | 3 | 3 | 1 | 77.82 | 1841.809 | 0.4
| Pori Energia |  | 2012 | 6 | 5 | 1.854 | 60.996 | 945.1 | 1.865
| Tampereen Kaukolämpö Oy |  | 2012 | 14 | 14 | 7.1 | 721 | 3535 | 7.6
| Turku Energia Oy |  | 2000 | 80 | 95 | 47.1 | 4393 | 30607 | 24
| Vierumäen Infra Oy |  | 2002 | 23 | 43 | 1.8 | 90.8 | 2020 | 8.2
| TOTAL |  |  | 441 | 477 | 243.374 | 21475.506 | 181588.209 | 110.702
DISTRICT COOLING PRODUCTION
|  |  | AbsorptioN | Heat pump | Compressor | Free cooling | Total
|  |  | MWh | MWh | MWh | MWh | MWh
| Fortum Power and Heat Oy |  |  | 16610 | 964 |  | 17574
| Helsingin Energia |  | 17400 | 92200 |  | 15400 | 125000
| Lahti Energia Oy |  |  |  | 65.3 |  | 65.3
| Lempäälän Lämpö Oy |  |  |  | 1841.809 |  | 1841.809
| Pori Energia |  |  |  | 691.9 | 253.2 | 945.1
| Tampereen Kaukolämpö Oy |  |  |  | 3535 |  | 3535
| Turku Energia Oy |  |  | 65 | 1266 | 29276 | 30607
| Vierumäen Infra Oy |  |  | 920 | 1100 |  | 2020
| TOTAL |  | 17400 | 109795 | 9464.009 | 44929.2 | 181588.209
PRODUCTION CAPACITY
|  |  | Start up | Cooling capacity | Number of units | Type
MW
Fortum Power and Heat Oy
|  | Tapiola | 2012 | 5.5 | 1 | heat pump
|  | Kivenlahti | 2012 | 4 | 1 | heat pump
Helsingin Energia
|  | Salmisaari | 2001-06 | 35 | 10 | absorption
|  | heat pump/Katri Vala | 2007 | 60 | 5 | heat pump
|  | Jäähdytyskontit | 2000-04 | 2 | 2 | compressor
Lahti Energia Oy
|  | Teivaanmäki | 2011 | 0.4 | 1 | compressor
Lempäälän Lämpö Oy
|  | Lempäälän Jäähalli | 2008 | 0.6 | 1 | compressor
|  | Lempäälän Terveyskeskus | 2014 | 0.9 | 1 | compressor
Pori Energia
|  | Jäähdytyskontti/Kaupunginsairaala | 2012 | 1.5 | 1 | compressor
|  | Kaukojäähdytyslaitos/Tiilimäki | 2014 | 1 | 1 | compressor
Tampereen Kaukolämpö Oy
|  | SRW 01-08/Ratina | 2012-14 | 8.604 | 8 | compressor
Turku Energia Oy
|  | ITH/Itäharju | 2004-05 | 2 |  | heat pump
|  | BLK/Biolaakso | 2005-07 | 2 |  | heat pump
|  | SKK/siirrettävät | 2001-06 | 9.8 |  | compressor
|  | ITH/Itäharju | 2002-06 | 2.7 |  | compressor
|  | BLK/Biolaakso | 2003-07 | 3.9 |  | compressor
Vierumäen Infra Oy
|  | heat pump/jäähalli | 2002 | 0.5 | 1 | heat pump
|  | Hotellin verkko | 2010 | 1.2 | 1 | compressor
| TOTAL |  |  | 141.604
Effect from free cooling
|  |  | Start up | Cooling capacity | Energysource
MW
Helsingin Energia
|  | Salmisaari | 2000-04 | 40 | seawater
|  | Hanasaari | 2007 | 30 | seawater
Pori Energia
|  | Jäähdytyskontti/Kaupunginsairaala | 2012 | 0.5 | air
|  | Kaukojäähdytyslaitos/Tiilimäki | 2014 | 0.4 | air
Turku Energia Oy
|  | Kakola | 2009 | 40 | sewage
| TOTAL |  |  | 110.9
Obs! The freecooling capacity varies according to outdoor and seawater temperature.
Accumulators
|  |  | Star up | Accumulation effect | Volume
|  |  |  | MW | m3
Fortum Power and Heat Oy
|  | Tapiola | 2012 | 1.3 | 160
|  | Kivenlahti | 2012 | 1.3 | 160
Helsingin Energia
|  | Salmisaari | 2001 | 3 | 1000
|  | Pasila | 2011 | 20 | 11000
Lahti Energia Oy
|  | Teivaanmäki | 2001 | 0.6 | 200
Turku Energia Oy
|  | Kakola | 2009 | 40 | 17000
| TOTAL |  |  | 66.2 | 29520