## Slide 1: Energy Year 2023 District Heating
25.01.2024
Finnish Energy

## Slide 2: Share of climate neutral energy continued to grow Share of renewables, heat recovery and electric boilers increased from 61 percent to 69 percent
Recovered (recycled) heat: energy that would otherwise go to waste
Other biofuels: includes also the bio share of municipal waste
Other: non-bio share of municipal waste, plastic or hazardous waste, electricity.
2023
2022

## Slide 3: District heating goes electric Significant increase in the number of electric boilers
Electric boilers produced 710 GWh heat in 2023
Electric boilers reduce the use of fuels when electricity pric is low
Electric boilers are already in operation in following companies:
  Fortum
  Lappeenrannan Energia
  Seinäjoen Energia
  Tampereen Energia
  Vaasan Sähkö
  Turun Seudun Energiantuotanto
Heat generated by electric boilers

## Slide 4: Temperature corrected heat consumption decreased from the previous year
District heat consumption 33,6 TWh
  The heating season was 0,2 oC warmer than normal year and 0,1 oC colder than previous year.
Temperature corrected district heat consumption 33,7 TWh
  Temperature correction takes into account annual temperature differences.

## Slide 5: Monthly district heat demand
Year 2023 was 0,3 oC warmer than the normal period of 1991-2020
The cold winter months exemplify the need for a wide palette of fuels to ensure the security of supply of heating.

## Slide 6: District heating supports the Finnish electricity system

## Slide 7: Peak consumptions of district heat and electricity are close to each other
Chart: MW
Source: Finnish Energy, estimation is based on
Helen open data 2021
District heat demand
Electricity demand
Hourly consumption of district heat and electricity in 2021
Despite a significant difference in overall demand for electricity and heat, peak consumptions are relatively close to each other

## Slide 8: Electricity vs heat demand in winter
Demand of district heating (DH) at the time of the peak consumption is about the same magnitude as the demand for electricity. On annual basis the demand of electricity is higher than DH (ca. 85 TWh vs. 35 TWh)
Combined Heat and Power (CHP) plants produce a significant amount of electricity (2 500 MW) while producing heat.
District heating reduces electricity demand peaks, in addition to electricity production

## Slide 9: CO2-neutral district heating at high level

## Slide 10: Share of renewables has more than doubled and share of heat recovery has multiplied compared to year 2010
2023
2010
Share of renewables has increased from 19 to 53 percent and heat recovery from 2 to 14 percent

## Slide 11: Share of renewables and recovered heat well more than a half in district heat supply
Fossil fuels have increasingly been replaced by biomass and recovered heat.
Use of biomass has more than doubled during last decade.
Amount of recovered heat has quadrupled compared to year 2010. Recovered heat consists mainly of waste heat. Fuel consumption is avoided by making use of surplus heat.

## Slide 12: The use of waste heat and electricity continued to grow
Fuel consumption can be avoided by making use of surplus heat. Heat can be recovered from data centers, industrial processes, flue gases, sewage water etc.
Electric boilers played a significant role in 2023 and they produced 710 GWh heat
Heat produced using
heat pumps, waste heat and
electric boilers

## Slide 13: The use of renewables increased They replaced especially peat and coal
In municipalities where district heating is provided
  75 per cent of networks heat comes from renewable fuels or recovered heat
Renewable fuels used in producing district heat are e.g. forest fuelwood, industrial wood residue, bio share of municipal waste, biogas, biofuel oil.
Use of renewables in the production of district heat and cogeneration

## Slide 14: The trend of district heat emissions is strongly declining

## Slide 15: CO2-emissions from district heat production decreased by 24 %
CO2-emissions from district heat production in 2023 were 3,1 Million tons and decreased by 24 % from the previous year

## Slide 16: Specific CO2-emissions from district heat production have decreased by 59 % since 2010
Specific emissions from district heat production in 2023 were 83 gCO2/kWh(*, which
  Decreased by 24 % from the previous year
  Decreased by 59 % since 2010
*) Fuels used in combined heat and power production were allocated according to the benefit allocation method
Source:
Statistics Finland (2000...2021)
Finnish Energy (1976...1999, 2022…2023)

## Slide 17: The CO2-emissions from Finland’s energy production are decreasing
CO2-emissions of electricity and district heating production 6 million tons in year 2023
Emissions have declined 82 % compared to 2000s highest emission year 2003

## Slide 18: District heat is the most common source of space heating in Finland

## Slide 19: Market share of space heating 2020 Residential, commercial and public buildings
Heat pump: includes the electricity
consumption of heat pumps
Electricity: includes the electricity
consumption of heat distribution
equipment and electric sauna stoves
Wood: includes the wood used by
sauna stoves
Source: Statistics Finland

## Slide 20: District heating is the most popular method of heating in new buildings
Market share of district heating in 2021
All buildings 50 %
Residential buildings 54 %
  Blocks of flats 83 %
  Detached and semi-detached houses 15 %
Office buildings 84 %
Public service buildings 69 %
Commercial buildings 58 %
Industrial and mining and quarrying buildings 48 %
Warehouses 38 %
Source: Statistics Finland, Granted building permits (heated cubic volume)

## Slide 21: Main heating method in new buildings
Source: Statistics Finland, Granted building permits (heated cubic volume)

## Slide 22: District cooling is cost-effective and environmentally friendly

## Slide 23: District cooling business continues to expand
District cooling sales increased by 1 % from the previous year
Connected load increased by 7 %
Energy companies which sold district cooling 2023:
Etelä-Savon Energia Oy
Fortum Power and Heat Oy
Helen Oy
Jyväskylän Energia Oy
Kuopion Energia Oy
Lahti Energia Oy
Lempäälän Lämpö Oy
Oulun Energia Oy
Pori Energia Oy
Tampereen Sähkölaitos Oy
Turku Energia Oy
Vierumäen Infra Oy

## Slide 24: Energy efficiency with district cooling
Same heat pumps often produce both heat and cooling energy
  the cooling water is cooled and the district heating water is warmed up in the same process.
District cooling also utilizes the ambient energy from sea, lakes and rivers as well as outdoor air whenever the temperature is low enough.