## Slide 1: Energy Year 2022 Electricity
Finnish Energy
12.1.2023

## Slide 2: Electricity total consumption 82 TWh, 6 % decrease compared to 2021
Chart: TWh
| 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Tilasto | 39.921 | 41.359 | 41.669 | 45.125 | 48.441 | 52.043 | 52.723 | 56.442 | 58.652 | 60.022 | 62.334 | 62.287 | 63.196 | 65.545 | 68.258 | 68.946 | 70.018 | 73.603 | 76.63 | 77.779 | 79.158 | 81.188 | 83.542 | 85.229 | 87.025 | 84.672 | 90.024 | 90.374 | 87.247 | 81.293 | 87.704 | 84.241 | 85.131 | 84.044 | 83.4 | 82.466 | 85.119 | 85.4489 | 87.4515 | 86.0754 | 81.5568 | 87.029 | 81.6803

## Slide 3: Electricity consumption decreased from the previous year 5,4 TWh change 2021-2022
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
 | 6.411 | -3.463 | 0.89 | -1.087 | -0.644 | -0.934 | 2.653 | 0.32986 | 2.0027 | -1.3761 | -4.5186 | 5.4722 | -5.3487

## Slide 4: Electricity consumption 2022
Chart: 
| Housing and agriculture | Services and building | Losses | Forest industry | Chemical industry | Metal industry | Other industry
 | 29.5557 | 21.9566 | 3.8956 | 19.5638 | 8.2795 | 10.3831 | 6.3658

## Slide 5: Electricity consumption of industry decreased 6 percent Consumption total 36 TWh
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Forest industry | 22.09 | 21.532 | 20.4412 | 20.15 | 19.578 | 19.3353 | 19.4846 | 19.9024 | 20.4024 | 19.5516 | 17.284 | 18.085 | 15.978
Chemical industry | 6.733 | 7.032 | 6.751 | 7.123 | 6.9249 | 6.7762 | 7.0064 | 7.014 | 7.1132 | 7.0264 | 6.668 | 6.377 | 6.762
Metal industry | 8.03 | 7.947 | 7.634 | 8.2553 | 8.3604 | 8.5229 | 8.4474 | 8.4823 | 8.5858 | 8.7183 | 8.531 | 8.843 | 8.48
Other industry | 4.613 | 3.845 | 4.4948 | 4.3047 | 4.3868 | 4.4688 | 4.7637 | 4.5249 | 4.6445 | 4.4995 | 4.369 | 5.226 | 5.199

## Slide 6: Industrial electricity consumption 2021-2022: most of decrease in forest industry
Chart: TWh
| Forest industry | Chemical industry | Metal industry | Other industry
 | -2.107 | 0.385 | -0.363 | -0.027

## Slide 7: Change of Industrial Electricity Consumption 2021-2022
Chart: %
| Forest industry | Chemical industry | Metal industry | Other industry
 | -11.6505 | 6.0373 | -4.1049 | -0.51665

## Slide 8: Electricity by energy source and net imports 2022
Chart: 
| Hydro power | Wind power | Solar power | Biomass | Peat | Waste fuels | Net imports | Nuclear power | Natural gas | Coal | Oil
 | 16.3 | 14.1 | 0.5 | 14.8 | 2.1 | 1 | 15.3 | 29.7 | 1.3 | 4.7 | 0.2

## Slide 9: The share of CO2-neutral electricity 89 percent
Renewable: 54 % (53 % in year 2021)
CO2-neutral: 89 % (87 % in year 2021)
Domestic: 57 % (57 % in year 2021)
2021
2022
Chart: 
| Hydro power | Wind power | Solar power | Biomass | Peat | Waste fuels | Nuclear power | Natural gas | Coal | Oil
 | 19.3 | 16.7 | 0.6 | 17.4 | 2.5 | 1.2 | 35 | 1.5 | 5.6 | 0.2
Chart: 
| Hydro power | Wind power | Solar power | Biomass | Peat | Waste fuels | Nuclear power | Natural gas | Coal | Oil
 | 22.5 | 11.8 | 0.4 | 18.3 | 2.9 | 1.2 | 32.7 | 5.3 | 4.7 | 0.2

## Slide 10: Electricity production in Finland and net imports decreased
2022
2021
Chart: 
| Nuclear power | CHP, district heating | CHP, industry | Condense etc | Net imports | Hydro power | Wind power | Solar power
 | 29.7 | 10.6 | 9 | 4.5 | 15.3 | 16.3 | 14.1 | 0.5
Chart: 
| Nuclear power | CHP, district heating | CHP, industry | Condense etc | Net imports | Hydro power | Wind power | Solar power
 | 26 | 12.2 | 10.4 | 3.3 | 20.4 | 18 | 9.4 | 0.3

## Slide 11: The end of imports from Russia and Energy crisis changed Energy procurement compared to 2021
Chart: Finlands electricity energy source changes 2022 vs 2021
| Net imports | Gas | Hydro Power | Bio/Peat/Waste | Coal | Nuclear Power | Wind Power
 | -5.2 | -7.9 | -10.2 | -10.3 | -8.7 | -5.3
Vähentynyt | -5.2 | -2.7 | -2.3 | -0.7
Kasvanut | -0.6 | -1.6 | -3.4

## Slide 12: Net imports of electricity decreased almost 30 percent (5.3 TWh)
Imports from Russia ended in May 204 %
Imports from Nordic countries increased 3% (0.4TWh)
Exports to Estonia increased 2 % (+0.1 TWh)
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Nordic countries | -4.972 | -3.3207 | -0.11528 | -0.329 | -0.132 | -0.065 | -0.108 | -0.12222 | -0.24547 | -0.10199 | -0.039603 | -0.032451 | -0.054623
Pohjoismaat, t | 2.114 | 5.2368 | 14.313 | 12.419 | 18.205 | 17.506 | 15.596 | 15.5718 | 13.8487 | 16.0687 | 18.7713 | 15.2896 | 15.7274
Venäjä, t | 11.638 | 10.7689 | 4.4028 | 4.713 | 3.385 | 3.926 | 5.858 | 5.7916 | 7.8497 | 7.5949 | 2.9814 | 9.1484 | 3.6367
Estonia | -0.246 | -0.484 | -1.53 | -1.544 | -3.523 | -5.034 | -3.0496 | -1.6558 | -2.3667 | -3.7943 | -6.6107 | -6.6914 | -6.8253
Viro t | 1.967 | 1.65 | 0.373 | 0.459 | 0.032 | 0.027 | 0.65525 | 0.84039 | 0.84965 | 0.27458 | 0.021611 | 0.053951 | 0.03327
Russia | -0.003 | -0.023 | -0.001 | -0.00012893 | -3.6701e-05 | -3.6701e-05 | -0.019503 | 0

## Slide 13: Net imports of electricity 12.5 TWh in year 2022
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
nettotuonti | 10.501 | 13.851 | 17.443 | 15.715 | 17.967 | 16.337 | 18.951 | 20.426 | 19.9358 | 20.0418 | 15.1046 | 17.7681 | 12.5175

## Slide 14: Electricity imports changed significantly after May
Chart: GWh
| 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 2021 | 2022 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Nordic Countries | 1269.0242 | 1439.9145 | 1282.9577 | 1269.0991 | 1236.6298 | 945.7697 | 1299.9623 | 830.0112 | 1132.239 | 1129.1973 | 1279.1421 | 1549.2602 | 1631.8063 | 1811.696 | 1311.1592 | 1562.103 | 1251.216 | 1066.9293 | 900.2371 | 1262.825 | 1310.5173 | 1733.809 | 1384.6867 | 1126.7892
Russia | 927.5389 | 951.4164 | 793.2482 | 802.0909 | 665.0489 | 894.2629 | 420.5208 | 770.9871 | 783.9961 | 217.9624 | 759.7323 | 0 | 405.8884 | 0.004391 | 925.1936 | 0 | 957.2671 | 0.000583 | 786.6526 | 0 | 705.7332 | 0 | 1017.6139 | 0
Estonia | 20.1289 | 1.1164 | 23.6494 | 0.21111 | 0.90772 | 0 | 0.01684 | 0.09576 | 1.2761 | 17.4197 | 0.65902 | 0.49265 | 2.0095 | 1.7137 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3808 | 5.5789 | 2.9226 | 6.6418

## Slide 15: Wind power grows rapidly: Capacity increased 76 percent and production 41 percent
Chart: 
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Installed generation capacity at the end of year (MW) | 109 | 142 | 146 | 196 | 199 | 259 | 453 | 631 | 1004 | 1532 | 2044 | 2041 | 2283.8 | 2585.9 | 3256.9 | 5676.9
Generation (GWh) | 188 | 261 | 277 | 294 | 481 | 494 | 774 | 1107 | 2327 | 3068 | 4795 | 5839 | 6025 | 7938 | 8179.5525 | 11545.3715

## Slide 16: Hydropower generation
Average year
= hydropower production calculated when flows of built rivers are in average level
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
 | 12.743 | 12.278 | 16.667 | 12.672 | 13.24 | 16.584 | 15.634 | 14.6102 | 13.1374 | 12.2465 | 15.6693 | 15.6239 | 13.354
 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1

## Slide 17: Generation and capacity of CHP in district heating
*Peak load capacity is not included from year 2017
*Source: Statistics Finland, Energy 2022 table service, table 3.5
Chart: 
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Electricity generation capacity in peak load period (MW)* | 3150 | 3150 | 3350 | 3490 | 3490 | 3550 | 3430 | 3350 | 3250 | 3021 | 3051 | 3051 | 3061 | 3097 | 3097
Generation (GWh) | 14591 | 15257 | 16909 | 14804 | 13897 | 13602 | 12785 | 12119 | 11988 | 11606.8463 | 12266.8553 | 11983.1537 | 9474.9632 | 10646.6238 | 8625

## Slide 18: Generation and capacity of CHP in industry
*Source: Statistics Finland, Energy 2022 table service, table 3.5
Chart: 
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Electricity generation capacity in peak load period (MW)* | 2450 | 2450 | 2300 | 2365 | 2370 | 2330 | 2330 | 2250 | 2000 | 1990 | 2250 | 2250 | 2250 | 2250 | 2150
Generation (GWh) | 11885 | 9536 | 11189 | 10739 | 9389 | 9724 | 9277 | 8710 | 8879 | 9109.4837 | 9553.72 | 9575.513 | 8613.5695 | 9066.4659 | 7331

## Slide 19: Generation and capacity of condensing power
*Peak load capacity is not included from year 2017
*Source: Statistics Finland, Energy 2022 table service, table 3.5
Chart: 
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Electricity generation capacity in peak load period (MW)* | 2650 | 2650 | 2200 | 2200 | 2045 | 2045 | 1650 | 1600 | 960 | 502 | 502 | 502 | 370 | 540 | 540
Generation (GWh) | 8779 | 8963 | 14179 | 9822 | 5177 | 8883 | 6379 | 4062 | 4319 | 3283.9079 | 4748.0292 | 3141.5234 | 2311.0761 | 2847.5865 | 3706

## Slide 20: Electricity Generation with Coal total of moving 12 months
Chart: GWh

## Slide 21: CO2-emissions of power generation-downward trend continues
CO2-emissions of power generation:
4.4 Mt in year 2022
4.7 Mt in year 2021
4.3 Mt in year 2020
6.9 Mt in year 2015
19 Mt in year 2010
 2022 vs. 2021 -6 %
 Emissions -39 % in last 5 years
 Emissions -77 % vs 2010
EU-27, v. 2020: 229 g CO2 / kWh Source: EEA
Chart: 1000 t CO2
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Condense etc | 12539.8325 | 8157.3546 | 4165.9389 | 7337.9255 | 5220.0543 | 2938.3891 | 3346.2077 | 2275.6631 | 3229.6019 | 1778.0325 | 1406.2199 | 1725.6118 | 1990.6068
CHP | 6471.6909 | 5643.6558 | 4885.3028 | 4610.2828 | 4228.5618 | 3965.207 | 4119.1534 | 3953.4723 | 4006.8483 | 3680.4745 | 2882.9053 | 2959.449 | 2405.7765
Specific carbon dioxide emissions | 226.7477 | 182.0825 | 124.0105 | 159.754 | 132.9628 | 97.1922 | 111.1564 | 94.9944 | 107.1817 | 82.6626 | 64.4208 | 67.598 | 63.5668

## Slide 22: Peak loads of electricity maximum electricity MW
Chart: MW
| 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Tilasto | 6600 | 6680 | 7120 | 7150 | 7720 | 8840 | 8870 | 10050 | 9480 | 9930 | 10450 | 10270 | 10400 | 10380 | 11300 | 10860 | 11220 | 11320 | 12190 | 13080 | 12400 | 13310 | 13550 | 14040 | 13570 | 13475 | 14849 | 14921 | 13816 | 13342 | 14624 | 14965 | 14441 | 14170 | 14388 | 13567 | 15149 | 14363 | 14184 | 14714 | 12844 | 14764.5728 | 14057.6882
Peak of year 2022 14 058 MW (11.1.2022) | 14764.5728 | 14057.6882

## Slide 23: Electricity supply hourly in year 2022 peak load day 11.1.
Chart: MW
| 1 12638 | 2 12357 | 3 12189 | 4 12186 | 5 12293 | 6 12627 | 7 13505 | 8 13863 | 9 14058 | 10 13893 | 11 13788 | 12 13798 | 13 13650 | 14 13484 | 15 13325 | 16 13292 | 17 13456 | 18 13434 | 19 13312 | 20 13224 | 21 12855 | 22 12282 | 23 12270 | 24 11932
Nuclear power | 2798.5371 | 2799.9093 | 2797.9563 | 2800.0269 | 2800.6448 | 2800.7225 | 2800.7606 | 2799.9845 | 2799.1574 | 2799.6687 | 2799.8328 | 2800.053 | 2799.353 | 2799.6249 | 2799.6249 | 2799.6807 | 2799.7833 | 2799.7805 | 2800.7621 | 2800.9487 | 2801.6743 | 2801.0763 | 2801.0376 | 2800.2172
Hydro power | 1532.0503 | 1558.1899 | 1464.6165 | 1376.0298 | 1393.9415 | 1519.4509 | 1816.1701 | 1984.0246 | 2222.7056 | 2250.9475 | 2286.4181 | 2247.5443 | 2045.4499 | 2102.923 | 2022.5829 | 1940.4381 | 2044.1554 | 2198.1426 | 2206.2953 | 2280.9373 | 2217.5613 | 1925.5091 | 1720.3153 | 1580.8711
Wind and solar power | 1414.3877 | 1725.4945 | 1952.6211 | 2131.3999 | 2234.6403 | 2280.3191 | 2305.9983 | 2362.1448 | 2407.4446 | 2393.8945 | 2403.1751 | 2446.4578 | 2531.6344 | 2549.4506 | 2542.2334 | 2574.3357 | 2461.1625 | 2429.7166 | 2352.4156 | 2411.0972 | 2455.1078 | 2457.8596 | 2434.1628 | 2381.9694
CHP | 3179.9967 | 3139.066 | 3135.0897 | 3102.3953 | 3073.9469 | 3061.7804 | 3058.5692 | 3101.3268 | 3338.3163 | 3438.3785 | 3212.5845 | 3141.3037 | 3074.4634 | 3051.3773 | 2959.3672 | 2856.3015 | 2847.4882 | 2853.924 | 2824.722 | 2784.9243 | 2688.4245 | 2563.3257 | 2541.3715 | 2510.0787
Condence etc | 669.4267 | 614.4833 | 616.6911 | 623.3583 | 631.5129 | 631.3547 | 619.5028 | 614.5892 | 660.7488 | 692.992 | 631.7868 | 656.4439 | 673.5566 | 681.8103 | 683.7593 | 669.563 | 682.1461 | 689.7676 | 709.9161 | 716.3818 | 748.2669 | 716.214 | 726.0243 | 703.7111
Net imports | 3043.9637 | 2520.0093 | 2221.9129 | 2152.485 | 2157.9481 | 2333.3077 | 2903.8502 | 3000.9379 | 2629.3155 | 2316.6541 | 2453.8358 | 2506.6011 | 2525.9738 | 2299.2408 | 2317.0547 | 2451.5034 | 2621.0162 | 2462.2233 | 2417.4972 | 2229.446 | 1944.3034 | 1817.913 | 2046.7048 | 1955.5263

## Slide 24: Variation of Electricity Production and Imports in 2022 average week power
Chart: MW
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
Nuclear power | 2801.7857 | 2798.8095 | 2800.5952 | 2799.4048 | 2791.6667 | 2800.5952 | 2800.5952 | 2800.5952 | 2800.5952 | 2823.2143 | 3089.881 | 2956.5476 | 3183.9286 | 3155.9524 | 3604.1667 | 3516.6667 | 2066.6667 | 2432.1429 | 1896.4286 | 1892.8571 | 1886.3095 | 1886.3095 | 2157.1429 | 2758.3333 | 2750.5952 | 2704.7619 | 2643.4524 | 1920.2381 | 2702.381 | 2708.9286 | 2641.0714 | 2516.0714 | 2204.7619 | 2221.4286 | 2882.7381 | 3116.0714 | 3704.1667 | 3193.4524 | 3661.3095 | 3672.0238 | 2760.119 | 2752.9762 | 2784.5238 | 2782.7381 | 2743.4524 | 2788.6905 | 2794.0476 | 2795.2381 | 2794.0476 | 2797.0238 | 2798.2143 | 3659.5238
CHP, industry | 682.7381 | 737.5 | 759.5238 | 795.2381 | 829.7619 | 772.619 | 825.5952 | 830.9524 | 787.5 | 777.381 | 759.5238 | 731.5476 | 801.1905 | 758.3333 | 732.1429 | 733.9286 | 823.2143 | 911.9048 | 851.1905 | 873.2143 | 746.4286 | 694.6429 | 720.8333 | 883.9286 | 888.0952 | 848.8095 | 894.6429 | 891.0714 | 892.8571 | 902.9762 | 847.0238 | 941.0714 | 935.119 | 892.2619 | 844.6429 | 892.2619 | 799.4048 | 769.6429 | 829.1667 | 663.6905 | 826.7857 | 834.5238 | 809.5238 | 885.7143 | 849.4048 | 986.9048 | 957.1429 | 991.6667 | 1005.9524 | 980.3571 | 918.4524 | 926.1905
CHP, district heating | 1823.8095 | 1573.2143 | 1525.5952 | 1504.1667 | 2072.0238 | 1468.4524 | 1428.5714 | 1502.9762 | 1430.3571 | 1573.2143 | 1089.2857 | 1081.5476 | 1494.0476 | 1137.5 | 1145.2381 | 880.3571 | 1085.7143 | 975 | 838.6905 | 816.0714 | 649.4048 | 537.5 | 376.1905 | 275 | 223.2143 | 179.7619 | 201.7857 | 219.0476 | 171.4286 | 181.5476 | 173.2143 | 198.2143 | 193.4524 | 287.5 | 426.7857 | 616.6667 | 482.1429 | 779.1667 | 866.6667 | 660.7143 | 682.1429 | 1048.8095 | 1069.6429 | 1018.4524 | 938.6905 | 1460.7143 | 1846.4286 | 1944.0476 | 2050 | 2230.9524 | 1495.2381 | 1089.2857
Condence etc | 654.7619 | 494.0476 | 302.381 | 482.1429 | 519.6429 | 430.3571 | 458.3333 | 479.1667 | 522.0238 | 569.0476 | 446.4286 | 313.6905 | 467.2619 | 372.619 | 288.0952 | 271.4286 | 473.2143 | 348.2143 | 263.6905 | 342.8571 | 335.119 | 407.1429 | 425 | 297.619 | 255.9524 | 310.7143 | 317.8571 | 309.5238 | 141.0714 | 194.6429 | 247.619 | 324.4048 | 464.2857 | 447.619 | 426.1905 | 469.6429 | 292.8571 | 337.5 | 353.5714 | 295.2381 | 341.0714 | 352.381 | 358.3333 | 384.5238 | 507.1429 | 514.881 | 792.8571 | 820.8333 | 909.5238 | 884.5238 | 665.4762 | 257.7381
Hydro power | 1724.4048 | 1530.9524 | 1639.2857 | 1613.0952 | 1748.8095 | 1538.6905 | 1662.5 | 1730.3571 | 1695.8333 | 1762.5 | 1388.0952 | 1520.2381 | 1644.6429 | 1484.5238 | 1644.6429 | 1552.381 | 2302.381 | 2171.4286 | 2274.4048 | 2301.7857 | 2078.5714 | 2031.5476 | 1741.0714 | 1726.1905 | 1600.5952 | 1558.3333 | 1217.8571 | 1670.8333 | 1467.8571 | 1230.3571 | 1152.381 | 1557.7381 | 1385.119 | 1632.7381 | 1271.4286 | 1384.5238 | 858.9286 | 1361.9048 | 1102.9762 | 855.3571 | 988.6905 | 1205.9524 | 1152.381 | 1170.8333 | 1319.0476 | 1769.0476 | 1444.0476 | 1435.7143 | 1377.381 | 1445.8333 | 1224.4048 | 925.5952
Wind power | 1005.3571 | 2189.2857 | 2291.6667 | 1548.2143 | 1376.7857 | 1732.7381 | 1341.6667 | 1645.8333 | 1784.5238 | 967.2619 | 1927.381 | 1774.4048 | 1174.4048 | 1587.5 | 703.5714 | 516.6667 | 1008.9286 | 1803.5714 | 1418.4524 | 1022.619 | 583.9286 | 1208.9286 | 820.8333 | 1040.4762 | 714.2857 | 825.5952 | 813.0952 | 498.8095 | 636.3095 | 1144.6429 | 1689.881 | 1183.3333 | 1664.2857 | 789.881 | 1425 | 805.3571 | 1371.4286 | 1256.5476 | 855.3571 | 2358.9286 | 2569.0476 | 1540.4762 | 1711.9048 | 1467.2619 | 1523.8095 | 414.2857 | 400.5952 | 268.4524 | 1491.6667 | 2294.0476 | 1855.9524 | 2680.9524
Solar power | 1.1905 | 2.9762 | 2.9762 | 3.5714 | 4.1667 | 7.7381 | 7.1429 | 13.6905 | 27.381 | 25.5952 | 44.6429 | 38.6905 | 41.6667 | 41.0714 | 54.7619 | 76.7857 | 66.6667 | 69.0476 | 79.7619 | 102.381 | 88.6905 | 80.9524 | 113.6905 | 100.5952 | 106.5476 | 115.4762 | 98.8095 | 80.3571 | 93.4524 | 73.2143 | 82.1429 | 88.0952 | 73.2143 | 60.7143 | 55.3571 | 51.7857 | 32.7381 | 36.9048 | 26.1905 | 21.4286 | 17.2619 | 17.2619 | 9.5238 | 7.1429 | 5.3571 | 3.5714 | 1.7857 | 1.1905 | 1.7857 | 1.7857 | 1.7857 | 1.7857
Net imports | 2935.119 | 2210.119 | 1920.2381 | 2348.2143 | 2450.5952 | 2098.8095 | 2300 | 2083.3333 | 1441.6667 | 2039.881 | 1189.881 | 1367.2619 | 1523.2143 | 1599.4048 | 1103.5714 | 1089.881 | 1488.6905 | 476.7857 | 1165.4762 | 1126.7857 | 1899.4048 | 1384.5238 | 1716.0714 | 1183.3333 | 1327.381 | 1592.2619 | 1680.9524 | 2245.2381 | 1666.0714 | 1376.7857 | 1125.5952 | 1244.0476 | 1372.0238 | 1648.8095 | 869.0476 | 835.7143 | 541.6667 | 414.881 | 732.7381 | 17.8571 | 518.4524 | 1211.9048 | 1313.0952 | 1573.2143 | 1232.7381 | 2130.9524 | 2263.6905 | 1944.6429 | 857.7381 | 527.9762 | 854.1667 | 259.5238

## Slide 25: Electricity spot markets are in an unprecented rise and change

## Slide 26: In 2022, wholesale electricity price in Finland was considerably higher than in the previous years
Source: Nord Pool
Chart: Annual electricity spot prices in Finland
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
 | 41.16 | 36.02 | 29.66 | 32.45 | 33.19 | 46.8 | 44.04 | 28.02 | 72.34 | 154

## Slide 27: Price of electricity in Finland was the second-lowest in the entire EU ̶ great price differences compared to Central Europe
Source: Nord Pool
Chart: Electricity spot prices on average 2022
| Finland | Northern Sweden | Stockholm | Oslo | Copenhagen | Germany | France | Estonia
 | 154 | 59 | 129.2 | 192 | 210 | 235.45 | 275.85 | 192.8

## Slide 28: Electricity prices rose in Europe mainly due to the reduced amounts of Russian natural gas and other energy in the market
Lähde: Nord Pool
Society starts to open up after COVID-19 restrictions and the demand for electricity increases. Exceptionally low prices come to an end.
Cold December raised gas and electricity prices.
Russia attacks Ukraine.
Gas and electricity imports from Russia are reduced considerably during spring and summer.
Russia starts to limit gas imports to Europe.
Chart: Electricity spot prices 2020-2022
| jan 2020 | February-20 | March-20 | April-20 | May-20 | June-20 | July-20 | August-20 | September-20 | October-20 | November-20 | December-20 | January-21 | February-21 | March-21 | April-21 | May-21 | June-21 | July-21 | August-21 | September-21 | October-21 | November-21 | December-21 | January-22 | February-22 | March-22 | April-22 | May-22 | June-22 | July-22 | August-22 | September-22 | October-22 | November-22 | December-22
Finland | 27.16 | 24.43 | 20.38 | 19.82 | 19.46 | 28.26 | 20.21 | 40.55 | 37.83 | 31.08 | 27.62 | 39.25 | 51.22 | 57.13 | 38.35 | 36.76 | 45.94 | 56.16 | 78.76 | 68.2 | 89.27 | 64.84 | 85.9 | 193.38 | 106.71 | 81.04 | 86.48 | 79.36 | 132.66 | 140.1 | 184.13 | 261.49 | 214.98 | 113.48 | 195.35 | 246
Stockholm | 23.73 | 18.39 | 13.84 | 9 | 12.74 | 23.73 | 8.92 | 33.66 | 33.49 | 22.12 | 23.64 | 30.96 | 48.6 | 53.14 | 36.17 | 33.12 | 42.88 | 39.84 | 57.9 | 65.67 | 90.26 | 64.28 | 82.53 | 175.74 | 100.89 | 73.49 | 122.9 | 86.3 | 98.15 | 119.14 | 81.79 | 211.4 | 212.3 | 73.58 | 111.9 | 245.8
France | 38.01 | 26.25 | 23.83 | 13.45 | 14.86 | 25.79 | 33.41 | 36.75 | 47.2 | 37.89 | 40.11 | 48.42 | 59.48 | 49.01 | 50.22 | 63.1 | 55.28 | 73.51 | 78.37 | 77.3 | 135.31 | 172.45 | 217.06 | 274.67 | 211.42 | 185.55 | 295.2 | 233.1 | 197.43 | 248.4 | 400.87 | 492.49 | 394.7 | 178.88 | 191.88 | 270.9
Germany | 35.03 | 21.92 | 22.49 | 17.09 | 17.6 | 26.18 | 30.06 | 34.86 | 43.69 | 33.97 | 38.79 | 43.52 | 52.81 | 48.7 | 47.16 | 53.61 | 53.35 | 74.08 | 81.37 | 82.7 | 128.37 | 139.49 | 176.15 | 221.06 | 167.73 | 128.8 | 252.01 | 165.73 | 177.48 | 218.03 | 315 | 465.18 | 346.12 | 152.6 | 173.63 | 251.6

## Slide 29: Price of electricity has followed the price of natural gas, which has multiplied in Central Europe
The price of natural gas has increased 20–30-fold from the low prices in 2020.
About 20% of electricity in the EU is produced with natural gas. In many countries this share is much higher.
For the time being, gas is a necessary fuel with respect to sufficient electricity supplies.
The wholesale price of electricity in Finland partly follows the Central European prices, but not in full. When there is plenty of Nordic production on offer, our price level falls considerably lower.
Sources: Nord Pool & Trading Economics
Chart: €/MWh (Electricity)
| 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896
Finland | 51.22 | 57.13 | 38.35 | 36.76 | 45.94 | 56.16 | 78.76 | 68.2 | 89.27 | 64.84 | 85.9 | 193.38 | 106.71 | 81.04 | 86.48 | 79.36 | 132.66 | 140.1 | 184.13 | 261.49 | 214.98 | 113.48 | 195.35 | 246
Germany | 52.81 | 48.7 | 47.16 | 53.61 | 53.35 | 74.08 | 81.37 | 82.7 | 128.37 | 139.49 | 176.15 | 221.06 | 167.73 | 128.8 | 252.01 | 165.73 | 177.48 | 218.03 | 315 | 465.18 | 346.12 | 152.6 | 173.63 | 251.6
Gas (TTF) | 20.9196 | 17.7201 | 17.9973 | 20.9535 | 25.3752 | 30.3904 | 36.565 | 45.4573 | 75.0844 | 90.6866 | 84.5189 | 125.9193 | 84.8888 | 106.7311 | 153.8254 | 100.9879 | 94.5482 | 116.4989 | 178.0427 | 266.4134 | 204.1783 | 134.6171 | 119.8221 | 118.3654

## Slide 30: In addition to gas, the hot and dry summer and challenges in nuclear power plants also contributed to the crisis
The rise in electricity prices is also partly explained by the reduced supply of nuclear and hydro power.
There are a number of faults and maintenance issues especially in French nuclear power plants, due to which production has plummeted.
The dry year has reduced the supply of hydro power.
Reduced use of electricity and increased production of wind and solar power have not been enough to meet the shortfall in nuclear and hydro power.
It has been necessary to utilise more coal power in electricity production, and even the hugely expensive natural gas has been slightly more in demand than in the previous year.
Sources: Bruegel & Ember
Chart: Change in electricity production by production form 2022 vs. 2021 January-November
| Nuclear Power | Hydro Power | Other Fossiles | Bio Energy | Other Renewables | Gas | Coal | Wind Power | Solar Power
 | -112.17 | -176.81 | -181.66 | -183.42 | -172.84 | -139.11 | -101.97 | -63.86
Vähentynyt | -112.17 | -64.64 | -4.85 | -1.76 | -0.55
Kasvanut | -11.13 | -33.73 | -37.14 | -38.11

## Slide 31: High prices are not only a Finnish phenomenon
Source: Nord Pool
Prices have been very high throughout Europe.
  The electricity wholesale market is common, i.e. pricing takes place according to supply and demand in the entire region.
  Electricity is transmitted in the grid towards a higher price.
  Electricity transmission links are not enough to ensure the same price in all areas.
The prices have been highest in countries that have a lot of production based on fossil fuels or not enough own production capacity.
Sweden has had the lowest prices, and Finland has imported a lot of electricity from Sweden. Correspondingly, electricity has been exported from Finland to Estonia.
Electricity spot prices by country 2022
Prices in Norway, Denmark, Sweden and Italy are from the price areas of the capital cities

## Slide 32: Electricity price fluctuations have been high this year – highest prices seen in August and in early December
Chart: Weekly electricity spot prices in Finland in 2022
 | 138.29 | 97.55 | 103.22 | 88.88 | 120.16 | 70.77 | 69.55 | 75.07 | 92.71 | 118.64 | 58.27 | 67.42 | 96.72 | 51.14 | 79.17 | 61.81 | 129.32 | 96.82 | 105.52 | 174.71 | 146.49 | 133.7 | 143.41 | 120.49 | 124.3 | 168.03 | 160.76 | 299.83 | 186.14 | 124.3 | 84.47 | 269.95 | 260.56 | 385.35 | 292.21 | 298.47 | 122.55 | 197.97 | 241.46 | 79.97 | 69.8 | 137.61 | 120.81 | 111.02 | 105.94 | 231.11 | 261.36 | 346 | 328.66 | 347.38 | 170.08 | 48.32
Lähde: Nord Pool
In January–April, Finland had the lowest wholesale electricity prices in Europe together with Sweden.
The prices increased when electricity imports from Russia stopped and gas became more expensive.
In late November and early December, the weather was widely cold with low winds in Central and North-West Europe.

## Slide 33: Price difference between Finland and Sweden grew further
Lähde: Nord Pool
The reason for the price difference between Finland and Sweden is the insufficient transmission capacity to transmit lower-priced electricity to the neighbouring country.
In the past few years, Finland has usually imported a substantial volume of electricity from Sweden.
The challenge for Finland is that our production capacity is not sufficiently high. In sub-zero temperatures during high demand or low winds, the prices can rise extremely high even if electricity prices in Sweden were lower.
Increasing own power production and growing the transmission capacity will reduce the price difference.
Chart: Annual electricity spot prices in Finland and the Stockholm region
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Finland | 27.28 | 35.3 | 27.68 | 30.53 | 48.57 | 30.01 | 51.02 | 36.98 | 56.64 | 49.3 | 36.64 | 41.16 | 36.02 | 29.66 | 32.45 | 33.19 | 46.8 | 44.04 | 28.02 | 72.34 | 154
Stockholm (2002-2011 Sweden) | 27.54 | 36.53 | 28.08 | 29.76 | 48.12 | 30.25 | 51.12 | 37.01 | 56.82 | 47.95 | 32.32 | 39.45 | 31.62 | 22 | 29.24 | 31.24 | 44.54 | 38.36 | 21.19 | 66 | 129.2

## Slide 34: Outlook for electricity prices is promising especially in terms of Finland and Sweden
Sources: Nord Pool, Nasdaq OMX & EEX
Futuure prices from 29.12.2022
Future electricity deliveries are traded on the electricity derivatives market.
The price outlook is declining in Finland and Sweden.
In Germany, high prices seem to be continuing.
The situation in Finland and Sweden is explained by the fact that we have a constant plentiful supply of new electricity production. Moreover, we are not dependent on gas in electricity production which would keep prices at a constantly high level.
Chart: Actual electricity spot prices & futures
| 1-Jan-20 | 1-Feb-20 | 1-Mar-20 | 1-Apr-20 | 1-May-20 | 1-Jun-20 | 1-Jul-20 | 1-Aug-20 | 1-Sep-20 | 1-Oct-20 | 1-Nov-20 | 1-Dec-20 | 1-Jan-21 | 1-Feb-21 | 1-Mar-21 | 1-Apr-21 | 1-May-21 | 1-Jun-21 | 1-Jul-21 | 1-Aug-21 | 1-Sep-21 | 1-Oct-21 | 1-Nov-21 | 1-Dec-21 | 1-Jan-22 | 1-Feb-22 | 1-Mar-22 | 1-Apr-22 | 1-May-22 | 1-Jun-22 | 1-Jul-22 | 1-Aug-22 | 1-Sep-22 | 1-Oct-22 | 1-Nov-22 | 1-Dec-22 | 1-Jan-23 | 1-Feb-23 | 1-Mar-23 | Q2/2023 | Q3/2023 | Q4/2023 | 16-Jul-05 | 17-Jul-05
Finland | 27.16 | 24.43 | 20.38 | 19.82 | 19.46 | 28.26 | 20.21 | 40.55 | 37.83 | 31.08 | 27.62 | 39.25 | 51.22 | 57.13 | 38.35 | 36.76 | 45.94 | 56.16 | 78.76 | 68.2 | 89.27 | 64.84 | 85.9 | 193.38 | 106.71 | 81.04 | 86.48 | 79.36 | 132.66 | 140.1 | 184.13 | 261.49 | 214.98 | 113.48 | 195.35 | 246
Stockholm | 23.73 | 18.39 | 13.84 | 9 | 12.74 | 23.73 | 8.92 | 33.66 | 33.49 | 22.12 | 23.64 | 30.96 | 48.6 | 53.14 | 36.17 | 33.12 | 42.88 | 39.84 | 57.9 | 65.67 | 90.26 | 64.28 | 82.53 | 175.74 | 100.89 | 73.49 | 122.9 | 86.3 | 98.15 | 119.14 | 81.79 | 211.4 | 212.3 | 73.58 | 120.04 | 245.8
Germany | 35.03 | 21.92 | 22.49 | 17.09 | 17.6 | 26.18 | 30.06 | 34.86 | 43.69 | 33.97 | 38.79 | 43.52 | 52.81 | 48.7 | 47.16 | 53.61 | 53.35 | 74.08 | 81.37 | 82.7 | 128.37 | 139.49 | 176.15 | 221.06 | 167.73 | 128.8 | 252.01 | 165.73 | 177.48 | 218.03 | 315 | 465.18 | 346.12 | 152.6 | 173.63 | 251.6
Finland Fut. | 263.5 | 286 | 219.75 | 134 | 134 | 134 | 114.5 | 114.5 | 114.5 | 158.5 | 158.5 | 158.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 86.5 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05 | 69.05
Stockholm Fut. | 191 | 207.25 | 164 | 117 | 117 | 117 | 92.9 | 92.9 | 92.9 | 154 | 154 | 154 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 85.7 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68
Germany Fut. | 202 | 219 | 225 | 200 | 200 | 200 | 236 | 236 | 236 | 303 | 303 | 303 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166

## Slide 35: The low carbonization of traffic is progressing

## Slide 36: Petrol and diesel car sales in Finland (new passenger cars, plug-in hybrid cars not included)
Chart: No.
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Petrol | 77927 | 79034 | 84700 | 82334 | 62967 | 56632 | 43328
Diesel | 39463 | 36064 | 28936 | 21863 | 14134 | 10632 | 7046

## Slide 37: Alternative power sources for the first registration of passenger cars
Chart: %
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Electric cars | 0.18739 | 0.42332 | 0.64396 | 1.6611 | 4.4027 | 10.3086 | 17.7862
Plug-in hybrid cars | 1.0151 | 2.1528 | 4.0928 | 5.2249 | 13.7234 | 20.4537 | 19.7936
Gas cars | 0.13866 | 0.36513 | 0.96345 | 1.8756 | 1.9094 | 0.92302 | 0.72829

## Slide 38: Alternative power sources in passenger cars in traffic by end of the year
Chart: No.
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Electric vehicles | 614 | 844 | 1449 | 2404 | 4661 | 9697 | 22921 | 44889
Gas vehicles | 1508 | 1825 | 3161 | 5607 | 9388 | 12366 | 14395 | 15622
Plug-in hybrid cars | 1017 | 2437 | 5719 | 13095 | 24704 | 45621 | 76990 | 104039