## Slide 1: District heating in Finland 2023

## Slide 2: Contents
The statistical presentation is divided into three parts. The first part presents statistical graphs. The next section provides statistical analysis. The third part presents future scenarios.
Contents Statistics in graphs Analysis Future scenarios

## Slide 3: Statistical year 2023
The year 2023 was the year of the electrification of district heating.
Overall, non-combustion-based production increased by about 40% from 2022. Non-combustion-based production, especially the production of heat pumps and electric boilers, is likely to grow strongly in the next few years.
Fuel supply started to recover from the exceptional years of 2022, when the war in Ukraine began and imports of Russian fuels were stopped.
The availability of natural gas improved in 2023, which reduced the use of oil and coal in district heat production. Forest fuelwood was also used to replace coal and peat. However, fuel prices remained high.
The year 2023 was, on average, slightly warmer than the normal year (1991-2020 average). However, monthly temperatures differed from the average year.
The January, February and summer months were warmer than normal, but March and the rest of the year were colder than normal.

## Slide 4: Statistics in graphs

## Slide 5: Statistics 2023
~16 500 km
district heating networks
~10,1 cent/kWh
The average price including taxes
~3,0 million people
lives in houses with district heating
~3 mrd. EUR the value of heat sold including taxes
~ 45 % market share*
District heating networks in Finland
~33 TWh
energy sold annually
*market share of heating in residential and apartment buildings

## Slide 6: Market share of space heating in 2022 (Statistics Finland)
Includes residential, commercial and public buildings
Electricity: includes the electricity
consumption of heat distribution
equipment and electric sauna stoves
Wood: includes the wood used by
sauna stoves
Chart: 
| district heat | electricity | heat pump, electricity consumption (estimate) | heat pump | wood | fuel oil | other
 | 0.45 | 0.17 | 0.07 | 0.13 | 0.12 | 0.05 | 0.01

## Slide 7: District heat consumption and connected heat load of the customers
Chart: TWh/a
| 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Measured consumption (TWh/a) | 9.631 | 10.417 | 11.836 | 12.196 | 13.304 | 14.252 | 15.136 | 16.184 | 17.465 | 21.651 | 20.995 | 23.52 | 22.24 | 20.85 | 22.266 | 23.49 | 23.57 | 24.65 | 25.34 | 24.8457 | 26.668 | 26.3584 | 27.5242 | 26.9206 | 25.6435 | 28.3739 | 29.6107 | 30.5455 | 29.503 | 29.281 | 30.1203 | 30.1013 | 29.3175 | 32.4139 | 35.8949 | 31.1924 | 34.0488 | 31.7097 | 31.5571 | 30.0431 | 33.2247 | 33.0235 | 33.4532 | 33.1868 | 30.0927 | 35.3105 | 32.9769 | 33.2274
Connected heat load (GW) | 4.25 | 4.785 | 5.28 | 5.819 | 6.547 | 7.376 | 8.114 | 8.842 | 9.5 | 10.067 | 10.454 | 10.85 | 11.35 | 11.6 | 12.025 | 12.29 | 12.47 | 12.47 | 12.72 | 12.8061 | 12.9709 | 13.2798 | 13.5987 | 13.8211 | 14.1565 | 14.6058 | 14.91 | 15.3319 | 15.3953 | 15.5515 | 15.9727 | 16.3731 | 16.6466 | 17.178 | 17.7984 | 18.2133 | 18.458 | 18.568 | 18.6283 | 18.8617 | 18.8908 | 19.064 | 19.0346 | 19.0914 | 19.1879 | 19.2004 | 19.3548 | 19.4886

## Slide 8: Temperature corrected heat consumption
District heat consumption 33,2 TWh (year 2023)
  Temperature corrected heat consumption 33,8 TWh
Temperature corrected heat consumption decreased 0,3 % from 2022
Temperature correction takes into account annual temperature differences.
Chart: TWh
| 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Measured consumption (TWh) | 4.6 | 5.2 | 5.9 | 7 | 6.5648 | 7.6852 | 9.847 | 10.2175 | 11.8359 | 12.1964 | 13.3044 | 14.2522 | 15.1359 | 16.1844 | 17.4651 | 21.6512 | 20.9948 | 23.6066 | 22.2379 | 20.8521 | 22.2664 | 23.4924 | 23.5859 | 24.645 | 25.3383 | 24.8457 | 26.668 | 26.3584 | 27.5136 | 26.9206 | 25.6435 | 28.3739 | 29.6107 | 30.5455 | 29.503 | 29.281 | 30.1203 | 30.1013 | 29.3175 | 32.4156 | 35.8949 | 31.1924 | 34.0488 | 31.7097 | 31.5571 | 30.0431 | 33.2247 | 33.1362 | 33.4532 | 33.1868 | 30.0973 | 35.2998 | 32.9769 | 33.2274
Temperature corrected consumption (TWh) | 4.8241 | 5.2505 | 6.1164 | 6.6982 | 7.3966 | 8.1497 | 9.1701 | 10.1561 | 11.0678 | 12.0751 | 13.0346 | 14.1161 | 15.3377 | 16.6972 | 18.2961 | 19.6959 | 20.9513 | 21.8703 | 22.4792 | 23.0422 | 23.5306 | 24.2218 | 24.7101 | 25.1501 | 25.4695 | 25.6918 | 25.8783 | 26.5251 | 27.1391 | 28.1221 | 28.486 | 29.0216 | 29.5967 | 29.975 | 30.2775 | 30.2997 | 30.8559 | 31.3568 | 31.7177 | 31.875 | 32.2095 | 32.4864 | 32.7817 | 32.8458 | 33.1772 | 33.5263 | 33.7676 | 33.8883 | 34.0991 | 34.3159 | 34.3388 | 34.0677 | 33.9234 | 33.814

## Slide 9: Number of customers and the length of networks
Chart: pc
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Number of customers | 129261 | 133493 | 137744 | 140851 | 143950 | 146366 | 148085 | 151498 | 154543 | 155497 | 157274 | 155110 | 160047 | 161459
Total length of networks | 12627 | 13058 | 13556 | 13854 | 14288.8 | 14472.1 | 14679.2 | 14916.8 | 15140.6 | 15427.3 | 15572.9 | 16099.7 | 16238.8 | 16464.5

## Slide 10: Specific heat consumption in district heated buildings
Specific heat consumption indicates how much energy has been used to heat premises and domestic water per building volume or surface area.
Specific heat consumption has been standardised to correspond to the comparison period 1991-2020
Chart: kWh/m3,a
| 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
kWh/m3 | 77.65 | 72.1547 | 72.1269 | 68.794 | 65.9034 | 62.1007 | 60.8902 | 60.0361 | 58.5802 | 57.8494 | 55.9009 | 53.4742 | 51.5431 | 50.5892 | 50.791 | 50.76 | 50.7221 | 50.2507 | 49.2066 | 48.333 | 47.0631 | 46.1104 | 45.4218 | 45.1918 | 45.2034 | 44.5545 | 44.0604 | 44.2797 | 44.2299 | 44.5542 | 43.7737 | 43.4925 | 43.1187 | 42.0072 | 41.7169 | 40.9881 | 40.489 | 39.8031 | 39.3424 | 38.5786 | 37.8492 | 37.4275 | 37.0742 | 36.4286 | 36.0328 | 35.8858 | 35.812 | 35.3871 | 34.7275 | 34.4441 | 34.1146 | 33.5651 | 33.1829 | 32.7488
kWh/m2 | 256.245 | 238.1105 | 238.0189 | 227.0201 | 217.4812 | 204.9322 | 200.9377 | 198.1191 | 193.3147 | 190.903 | 184.4731 | 176.4647 | 170.0921 | 166.9444 | 167.6103 | 167.5078 | 167.3831 | 165.8273 | 162.3817 | 159.4988 | 155.3081 | 152.1644 | 149.8919 | 149.1328 | 149.1711 | 147.0299 | 145.3994 | 146.123 | 145.9586 | 147.0289 | 144.4533 | 143.5253 | 142.2916 | 138.6239 | 137.6657 | 135.2606 | 133.6136 | 131.3502 | 129.8299 | 127.3095 | 124.9024 | 123.5108 | 122.3447 | 120.2144 | 118.9082 | 118.4231 | 118.1797 | 116.7774 | 114.6006 | 113.6656 | 112.5783 | 110.7648 | 109.5037 | 108.0712

## Slide 11: District heat supply and the share of cogeneration
Chart: TWh
| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Cogenerated heat | 20.5129 | 23.1244 | 23.8116 | 24.6314 | 23.936 | 22.856 | 24.4595 | 23.9893 | 23.4311 | 24.7025 | 27.4196 | 24.6554 | 25.6953 | 25.4179 | 25.1683 | 24.406 | 24.5716 | 24.8773 | 24.9041 | 24.3563 | 20.2464 | 21.9701 | 19.9789
Separate heat | 6.6042 | 7.123 | 7.9488 | 8.0642 | 7.6217 | 8.3989 | 8.0655 | 8.4988 | 7.6949 | 9.9137 | 11.0371 | 9.3722 | 11.4404 | 9.5273 | 9.5754 | 8.8615 | 11.9795 | 11.6819 | 12.1727 | 12.211 | 13.3842 | 17.2307 | 16.8869

## Slide 12: District heat supply and the fuels used for DH and cogeneration
Chart: 
| Heat recovery, heat pumps, electric boilers | Natural gas | Coal | Oil | Peat | Waste | Wood + other bio | Others
 | 0.19221 | 0.071 | 0.115 | 0.027 | 0.101 | 0.119 | 0.563 | 0.004
Total district heat supply | 36,7 TWh
District heat production by fuels | 29,7 TWh
Net production of electricity in CHP production | 5,9 TWh
Fuel energy consumed | 43,2 TWh
Heat recovery and heat produced by heat pumps | 7,0 TWh

## Slide 13: Energy sources for district heat supply in 2023 by fuel category
Waste category includes municipal waste, recovered fuels, demolition wood, impregnated wood, plastic waste and hazardous waste.
  Bio share of waste is 54 % and fossil share 46 %.
Other biofuels: other biofuels and mixed fuels
Others: steam, hydrogen
Carbon neutral*: 70 %
  Renewables + Heat recovery + electricity usage of electric boilers
Share of imported fossil fuels in district heat supply 17 %
*Carbon neutral energy sources include those energy sources whose carbon dioxide impact is not reported in heat production. The climate impact of bioenergy is included in the land use sector and emissions from electricity used in district heat production in electricity production.
Chart: 
| Forest fuelwood | Industrial wood residues | Other biofuels | Waste | Heat recovery | Electric Boilers | Peat | Natural gas | Coal | Oil | Others
 | 0.296 | 0.111 | 0.054 | 0.091 | 0.171 | 0.02 | 0.084 | 0.063 | 0.08 | 0.027 | 0.002

## Slide 14: Energy sources for district heat supply in 2023 by fuels
Chart: 
| Forest fuelwood | Industrial wood residues | Other biofuels | Waste | Heat recovery | Electric Boilers | Peat | Natural gas | Coal | Oil | Others | Chips from roundwood | Forest residue chips | Bark | Saw dust | Other | Recovered wood | Wood pellets | Municipal waste | Other waste | Heat recovery | Heat pumps | Electric boilers | Milled peat | Sod peat | Natural gas | Coal | Oil | Other fuels
 | 0.296 | 0.111 | 0.054 | 0.091 | 0.171 | 0.02 | 0.084 | 0.063 | 0.08 | 0.027 | 0.002
 | 0 | 0.216 | 0.08 | 0.04 | 0.044 | 0.027 | 0.023 | 0.032 | 0.063 | 0.028 | 0.116 | 0.055 | 0.02 | 0.072 | 0.011 | 0.063 | 0.08 | 0.027 | 0.002

## Slide 15: Energy sources for district heat supply in 2023 and 2022
Chart: 
| Forest fuelwood | Industrial wood residues | Other biofuels | Waste | Heat recovery | Electric boilers | Peat | Natural gas | Coal | Oil | Others
2023 | 0.296 | 0.111 | 0.055 | 0.091 | 0.171 | 0.02 | 0.084 | 0.063 | 0.08 | 0.027 | 0.002
2022 | 0.254 | 0.118 | 0.064 | 0.085 | 0.134 | 0.001 | 0.101 | 0.031 | 0.152 | 0.057 | 0.003
Heat recovery: energy that would otherwise go to waste, e.g. heat recovery from wastewater, flue gases, return water from district cooling.
Waste category includes municipal waste, recovered fuels, demolition wood, impregnated wood, plastic waste and hazardous waste.
  Bio share of waste is 54 % and fossil share 46 %. Other biofuels: other biofuels and mixed fuels
Others: steam, hydrogen

## Slide 16: Heat generated by electric boilers
Electric boilers reduce the use of fuels when electricity price is low. Alongside electric boilers, there is usually a heat storage.
Chart: GWh
| 2021 | 2022 | 2023
Sähkökattiloiden tuottama lämpö | 16.0002 | 57.8799 | 745.639

## Slide 17: Energy sources for district heat supply 1990-2023
Fossil fuels have increasingly been replaced by biomass, recovered heat and electric boilers.
The use of biomass has increased 2.5-fold since 2010. The amount of recovered heat has increased fivefold since 2010. Fuel consumption is avoided by making use of surplus heat.
*includes heat pumps and heat recovery and electric boilers
Chart: 
| 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
hiili | 0.436 | 0.451 | 0.41 | 0.412 | 0.402 | 0.375 | 0.3763 | 0.3611 | 0.2946 | 0.2782 | 0.2644 | 0.27427 | 0.26223 | 0.26059 | 0.25055 | 0.236 | 0.25409 | 0.23995 | 0.21754 | 0.22213 | 0.20477 | 0.22702 | 0.22332 | 0.24115 | 0.22424 | 0.19569 | 0.22914 | 0.22892 | 0.1944 | 0.17641 | 0.11486 | 0.11481 | 0.15235 | 0.080049
öljy | 0.11 | 0.104 | 0.102 | 0.094 | 0.1 | 0.087 | 0.0824 | 0.0602 | 0.0709 | 0.0785 | 0.0841 | 0.091413 | 0.083644 | 0.080872 | 0.06411 | 0.057348 | 0.063641 | 0.065904 | 0.048745 | 0.072848 | 0.071663 | 0.046647 | 0.050259 | 0.0295 | 0.02814 | 0.029404 | 0.030642 | 0.021658 | 0.022122 | 0.019301 | 0.012498 | 0.029796 | 0.056688 | 0.027202
maakaasu | 0.211 | 0.203 | 0.24 | 0.252 | 0.248 | 0.263 | 0.2594 | 0.2898 | 0.3424 | 0.3565 | 0.34489 | 0.31005 | 0.31767 | 0.30738 | 0.32993 | 0.33756 | 0.29743 | 0.29432 | 0.31545 | 0.28982 | 0.30221 | 0.24182 | 0.24772 | 0.22522 | 0.19554 | 0.16807 | 0.12541 | 0.099782 | 0.12643 | 0.10732 | 0.11397 | 0.10004 | 0.031217 | 0.062805
turve | 0.199 | 0.199 | 0.205 | 0.195 | 0.195 | 0.217 | 0.214 | 0.2117 | 0.2005 | 0.1875 | 0.18992 | 0.20717 | 0.2048 | 0.21523 | 0.20151 | 0.17684 | 0.20067 | 0.21882 | 0.19641 | 0.17208 | 0.19224 | 0.19408 | 0.16163 | 0.13869 | 0.14576 | 0.16219 | 0.14744 | 0.14538 | 0.15534 | 0.15334 | 0.14104 | 0.10581 | 0.10135 | 0.083527
hukkalämmöt | 0.0037171 | 0.0091128 | 0.01022 | 0.016319 | 0.015942 | 0.02025 | 0.022542 | 0.023852 | 0.031236 | 0.033995 | 0.02203 | 0.03448 | 0.035861 | 0.037931 | 0.043306 | 0.054942 | 0.083124 | 0.094681 | 0.094361 | 0.108 | 0.13681 | 0.141 | 0.1351 | 0.19157
Jäte | 0.016367 | 0.018049 | 0.019489 | 0.035125 | 0.051819 | 0.057849 | 0.065875 | 0.075626 | 0.072863 | 0.080138 | 0.091704 | 0.078059 | 0.084735 | 0.091183
puu, muu bio | 0.022145 | 0.02156 | 0.023416 | 0.031934 | 0.042986 | 0.046541 | 0.055147 | 0.062894 | 0.066388 | 0.075 | 0.09802 | 0.092722 | 0.10453 | 0.10546 | 0.12635 | 0.15642 | 0.14392 | 0.13975 | 0.16322 | 0.1802 | 0.18143 | 0.22823 | 0.24684 | 0.28141 | 0.30562 | 0.32067 | 0.31155 | 0.32858 | 0.32844 | 0.34927 | 0.38551 | 0.42787 | 0.43596 | 0.46139
muu | 0.021855 | 0.02144 | 0.019584 | 0.015066 | 0.012014 | 0.011459 | 0.012753 | 0.014306 | 0.025212 | 0.0243 | 0.014955 | 0.015253 | 0.016904 | 0.01415 | 0.011605 | 0.015578 | 0.017696 | 0.017405 | 0.027406 | 0.028922 | 0.009294 | 0.0096663 | 0.014884 | 0.010968 | 0.0055777 | 0.011187 | 0.0068207 | 0.005375 | 0.00604 | 0.0062109 | 0.0036086 | 0.002601 | 0.0025955 | 0.002271

## Slide 18: Energy sources for district heat supply 1976-2023
*includes heat pumps and heat recovery and electric boilers
Chart: 
| 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
hiili | 0.29 | 0.321 | 0.37 | 0.379 | 0.377 | 0.357 | 0.408 | 0.467 | 0.498 | 0.493 | 0.468 | 0.466 | 0.487 | 0.468 | 0.436 | 0.451 | 0.41 | 0.412 | 0.402 | 0.375 | 0.3763 | 0.3611 | 0.2946 | 0.2782 | 0.2644 | 0.27427 | 0.26223 | 0.26059 | 0.25055 | 0.236 | 0.25409 | 0.23995 | 0.21754 | 0.22213 | 0.20477 | 0.22702 | 0.22332 | 0.24115 | 0.22424 | 0.19569 | 0.22914 | 0.22892 | 0.1944 | 0.17641 | 0.11486 | 0.11481 | 0.15235 | 0.080049
öljy | 0.601 | 0.556 | 0.469 | 0.439 | 0.431 | 0.444 | 0.348 | 0.24 | 0.197 | 0.224 | 0.214 | 0.185 | 0.148 | 0.128 | 0.11 | 0.104 | 0.102 | 0.094 | 0.1 | 0.087 | 0.0824 | 0.0602 | 0.0709 | 0.0785 | 0.0841 | 0.091413 | 0.083644 | 0.080872 | 0.06411 | 0.057348 | 0.063641 | 0.065904 | 0.048745 | 0.072848 | 0.071663 | 0.046647 | 0.050259 | 0.0295 | 0.02814 | 0.029404 | 0.030642 | 0.021658 | 0.022122 | 0.019301 | 0.012498 | 0.029796 | 0.056688 | 0.027202
maakaasu | 0.041 | 0.041 | 0.036 | 0.039 | 0.042 | 0.041 | 0.039 | 0.029 | 0.031 | 0.038 | 0.067 | 0.106 | 0.118 | 0.177 | 0.211 | 0.203 | 0.24 | 0.252 | 0.248 | 0.263 | 0.2594 | 0.2898 | 0.3424 | 0.3565 | 0.34489 | 0.31005 | 0.31767 | 0.30738 | 0.32993 | 0.33756 | 0.29743 | 0.29432 | 0.31545 | 0.28982 | 0.30221 | 0.24182 | 0.24772 | 0.22522 | 0.19554 | 0.16807 | 0.12541 | 0.099782 | 0.12643 | 0.10732 | 0.11397 | 0.10004 | 0.031217 | 0.062805
turve | 0.028 | 0.047 | 0.099 | 0.115 | 0.121 | 0.119 | 0.145 | 0.186 | 0.201 | 0.198 | 0.205 | 0.197 | 0.203 | 0.183 | 0.199 | 0.199 | 0.205 | 0.195 | 0.195 | 0.217 | 0.214 | 0.2117 | 0.2005 | 0.1875 | 0.18992 | 0.20717 | 0.2048 | 0.21523 | 0.20151 | 0.17684 | 0.20067 | 0.21882 | 0.19641 | 0.17208 | 0.19224 | 0.19408 | 0.16163 | 0.13869 | 0.14576 | 0.16219 | 0.14744 | 0.14538 | 0.15534 | 0.15334 | 0.14104 | 0.10581 | 0.10135 | 0.083527
hukkalämmöt | 0.0037171 | 0.0091128 | 0.01022 | 0.016319 | 0.015942 | 0.02025 | 0.022542 | 0.023852 | 0.031236 | 0.033995 | 0.02203 | 0.03448 | 0.035861 | 0.037931 | 0.043306 | 0.054942 | 0.083124 | 0.094681 | 0.094361 | 0.108 | 0.13681 | 0.141 | 0.1351 | 0.19157
Jäte | 0.016367 | 0.018049 | 0.019489 | 0.035125 | 0.051819 | 0.057849 | 0.065875 | 0.075626 | 0.072863 | 0.080138 | 0.091704 | 0.078059 | 0.084735 | 0.091183
puu, muu bio | 0.001 | 0.002 | 0.004 | 0.009 | 0.012501 | 0.015583 | 0.029863 | 0.024381 | 0.031817 | 0.025371 | 0.024127 | 0.024783 | 0.025403 | 0.023015 | 0.022145 | 0.02156 | 0.023416 | 0.031934 | 0.042986 | 0.046541 | 0.055147 | 0.062894 | 0.066388 | 0.075 | 0.09802 | 0.092722 | 0.10453 | 0.10546 | 0.12635 | 0.15642 | 0.14392 | 0.13975 | 0.16322 | 0.1802 | 0.18143 | 0.22823 | 0.24684 | 0.28141 | 0.30562 | 0.32067 | 0.31155 | 0.32858 | 0.32844 | 0.34927 | 0.38551 | 0.42787 | 0.43596 | 0.46139
muu | 0.039 | 0.033 | 0.022 | 0.019 | 0.016499 | 0.023417 | 0.030137 | 0.053619 | 0.041183 | 0.021629 | 0.021873 | 0.021217 | 0.018597 | 0.020985 | 0.021855 | 0.02144 | 0.019584 | 0.015066 | 0.012014 | 0.011459 | 0.012753 | 0.014306 | 0.025212 | 0.0243 | 0.014955 | 0.015253 | 0.016904 | 0.01415 | 0.011605 | 0.015578 | 0.017696 | 0.017405 | 0.027406 | 0.028922 | 0.009294 | 0.0096663 | 0.014884 | 0.010968 | 0.0055777 | 0.011187 | 0.0068207 | 0.005375 | 0.00604 | 0.0062109 | 0.0036086 | 0.002601 | 0.0025955 | 0.002271
dummy | 1

## Slide 19: Energy sources for district heat by region in 2023
The share of district heat energy sources in combined heat and power plants has been estimated using general coefficients that have not been adjusted to the county-specific level.
Chart: 
| Uusimaa | Varsinais-Suomi | Satakunta | Kanta-Häme | Pirkanmaa | Päijät-Häme | Kymenlaakso | Etelä-Karjala | Etelä-Savo | Pohjois-Savo | Pohjois-Karjala | Keski-Suomi | Etelä-Pohjanmaa | Pohjanmaa | Keski-Pohjanmaa | Pohjois-Pohjanmaa | Kainuu | Lappi | Ahvenanmaa
Bio | 0.28325 | 0.54004 | 0.75015 | 0.39213 | 0.4561 | 0.4728 | 0.59735 | 0.72775 | 0.77814 | 0.52826 | 0.65148 | 0.69473 | 0.51472 | 0.4272 | 0.4795 | 0.50209 | 0.57134 | 0.57779 | 0.76609
Waste | 0.086829 | 0.085052 | 0.081486 | 0.36003 | 0.12518 | 0.27501 | 0.10536 | 0 | 0 | 0.10013 | 0 | 0.0064979 | 0 | 0.28501 | 0.0014598 | 0.053372 | 0.063609 | 0 | 0
Heat recovery | 0.20097 | 0.25501 | 0.082036 | 0.16718 | 0.15767 | 0.14428 | 0.11441 | 0.041975 | 0.028893 | 0.16947 | 0.17957 | 0.067033 | 0.082825 | 0.066987 | 0.26805 | 0.27894 | 0.12697 | 0.10707 | 0.11799
Electric Boilers | 0.014463 | 0.012395 | 0.00038215 | 0 | 0.031041 | 0.0031466 | 0 | 0.087604 | 0 | 0 | 0.0052275 | 0 | 0.10373 | 0.15081 | 0 | 0.0018978 | 0 | 0.031964 | 0
Peat | 0.011449 | 0.026094 | 0.05032 | 0.033137 | 0.067899 | 0.046956 | 0.089538 | 0.066643 | 0.18187 | 0.18644 | 0.127 | 0.20597 | 0.2795 | 0.046313 | 0.20445 | 0.14805 | 0.20622 | 0.24781 | 0.00055685
Natural gas | 0.13209 | 0 | 0.0022165 | 0.031455 | 0.14182 | 0.040809 | 0.086086 | 0.044525 | 0 | 0 | 0 | 0.0013336 | 0 | 0 | 0 | 0.0017713 | 0.025021 | 0 | 0
Coal | 0.22894 | 0.039056 | 0.00042193 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00050001 | 0 | 0.0018346 | 0 | 0.011311 | 0 | 0 | 0.00073922 | 0 | 0
Oil | 0.042017 | 0.042353 | 0.031604 | 0.016077 | 0.019534 | 0.016997 | 0.0072503 | 0.0082502 | 0.011094 | 0.015205 | 0.036723 | 0.011629 | 0.019225 | 0.0052291 | 0.0083279 | 0.013878 | 0.0061076 | 0.016516 | 0.11536
Others | 0 | 0 | 0.0013815 | 0 | 0.00075448 | 0 | 0 | 0.023255 | 0 | 0 | 0 | 0.010965 | 0 | 0.0071484 | 0.038215 | 0 | 0 | 0.018848 | 0

## Slide 20: Energy sources for DH by region in 2005 and in 2023
Year 2005
Year 2023

## Slide 21: Renewable fuels in the production of district heat and cogeneration
Chart: GWh
| 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
District heat + cogeneration | 875.8 | 814.3 | 924.6 | 921.7 | 789 | 806.1 | 829.3 | 918.8 | 1313.7 | 1818 | 1994.8 | 2602.4 | 2938.2 | 3346.52 | 3667.86 | 3805.96 | 4046.42 | 4672.58 | 4986.32 | 5773.9 | 6950.92 | 6963.24 | 6744.98 | 7489.08 | 9130.04 | 11207.8 | 12148.74 | 14342.78 | 15819.54 | 17238.68 | 17013.64 | 18302.69 | 19605.7 | 19918.05 | 21053.47 | 20898.86 | 27208.3 | 26561.84 | 27119.74
Separate production of DH | 441 | 412 | 641 | 787 | 830.9 | 757.6 | 860.8 | 1006.72 | 1092.5 | 1165.54 | 1278.42 | 1606.86 | 1676.96 | 1751.24 | 2009.12 | 1983.46 | 2024.92 | 2194.48 | 2459.54 | 2477.36 | 2579.68 | 3130.98 | 3692.26 | 3931.28 | 4422.68 | 5286.3 | 5443.35 | 5753.06 | 6183.18 | 7177.52 | 8937.33 | 8934.62 | 11125.06

## Slide 22: Heat recovery and electric boilers
The electric boilers produced 750 GWh of heat in 2023.
6 249 GWh of district heat was produced by heat recovery
Heat recovery by heat exchangers 4 230 GWh
  The most significant heat sources: flue gases, industrial processes and geothermal energy
Heat produced by the heat pumps 2 020 GWh
  The most significant heat sources: sewage, district cooling return water and data centers
Chart: GWh
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Hukkalämmöt | 730.7 | 777.5 | 986.5 | 1177.1 | 1123.2 | 1209.9 | 1283.9 | 1282.5 | 1405.9 | 2231.8 | 2970.2 | 3302.55 | 3373 | 3843.1 | 4530.65 | 5447.2002 | 4982.0799 | 6994.596

## Slide 23: Total emissions from district heating
CO2-emissions from district heat production in 2023 were 3,1 Million tons and decreased by 22 % from the previous year
Chart: Mill. t CO2
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
CO2-emissions, Mill. t CO2 | 6.6936 | 7.0385 | 5.946 | 5.7351 | 5.1483 | 5.6448 | 5.414 | 5.4496 | 4.9956 | 3.7555 | 4.0079 | 4.0404 | 3.1334
District heat production, TWh | 34.0276 | 37.1357 | 34.9452 | 34.7437 | 33.2675 | 36.5511 | 36.5592 | 37.0768 | 36.5673 | 33.6354 | 39.0958 | 36.7578 | 36.7393

## Slide 24: CO2 -emissions from the district heat supply
Specific emissions from district heat production in 2022 were 85 gCO2/kWh, which
  Decreased by 26 % from the previous year
  Decreased by 58 % since 2010
Fuels used in combined heat and power production were allocated according to the benefit allocation method
Sources :
Statistics Finland (2000…2022)
Finnish Energy (1976…1999, 2023)
Chart: g CO2 /kWh
| 1976 | 1980 | 1985 | 1987 | 1990 | 1995 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
 | 276.1072 | 279.3688 | 292.2882 | 290.7152 | 271.6758 | 244.1654 | 229.7806 | 222.1 | 229.6 | 225 | 222.6 | 216.5 | 207.6 | 214.3 | 221.3 | 204.5 | 206.5 | 202.3 | 196.6 | 192.2 | 178.5 | 170.3 | 158.8 | 159.7 | 151.4 | 150.3 | 140.7 | 122.9 | 110.4 | 116 | 85.2862

## Slide 25: Price of district heat (incl. VAT) Average, minimum and maximum values
The price includes all taxes, demand and energy charges as well as other possible annual charges. Connection fees are excluded.
Weighted average price: 100,69 €/MWh
Arithmetical average price: 96,26 €/MWh
Chart: €/MWh
| 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
 | 25.5646 | 26.2373 | 27.5828 | 22.5372 | 20.8553 | 22.2008 | 23.7145 | 25.7328 | 26.7419 | 27.5828 | 28.2556 | 28.9283 | 30.6102 | 30.1056 | 31.7875 | 32.4603 | 32.9648 | 34.6467 | 36.58 | 37.72 | 37.75 | 38.9 | 41.4 | 44.07 | 45.55 | 51.73 | 56.1592 | 54.8149 | 65.3623 | 67.8339 | 72.7336 | 73.3727 | 75.7452 | 74.8137 | 76.7727 | 79.1109 | 80.8464 | 82.2343 | 82.8353 | 88.2201 | 96.2601
 | 21.8678 | 22.1335 | 21.6138 | 18.0432 | 16.3613 | 17.9171 | 18.3039 | 19.1785 | 20.8587 | 21.4322 | 22.3421 | 22.8584 | 24.177 | 23.4807 | 25.2013 | 25.9295 | 26.1414 | 28.0638 | 30.64 | 31.08 | 29.89 | 32.45 | 32.87 | 34.03 | 37.41 | 36.54 | 40.96 | 44.48 | 43.55 | 44.43 | 49.76 | 46.98 | 48.73 | 48.3 | 48.07 | 48.2681 | 48.1712 | 48.4333 | 47.7118 | 47.7522 | 47.3433
 | 47.5131 | 49.8206 | 42.1546 | 42.7937 | 42.4759 | 41.3742 | 43.8752 | 44.1342 | 44.5698 | 44.3764 | 49.0234 | 49.718 | 48.7947 | 51.9415 | 57.1688 | 49.9821 | 55.3439 | 57.2175 | 56.83 | 54.97 | 63.9 | 56.23 | 60.03 | 74.73 | 68.42 | 80.36 | 85.07 | 82.55 | 100.31 | 110.81 | 123.96 | 125.15 | 125.11 | 118.5 | 126.39 | 106.6959 | 109.7266 | 119.7241 | 115.3287 | 120.6754 | 130.7695

## Slide 26: The share of district heating companies according to the average heat sales price in 2023 (incl. VAT)
The price includes all taxes, demand and energy charges as well as other possible annual charges. Connection fees are excluded.
The graph represents only enterprises that responded to the sales section of the statistics.
Chart: €/MWh
| 45-50 | 50-55 | 55-60 | 60-65 | 65-70 | 70-75 | 75-80 | 80-85 | 85-90 | 90-95 | 95-100 | 100-105 | 105-110 | 110-115 | 115-120 | 120-125 | 125-130 | 130-135
pros | 0.010101 | 0 | 0 | 0 | 0.010101 | 0.030303 | 0.070707 | 0.070707 | 0.13131 | 0.14141 | 0.12121 | 0.13131 | 0.14141 | 0.080808 | 0.010101 | 0.010101 | 0.030303 | 0.010101

## Slide 27: Price of district heat in new buildings (€/MWh) Fixed price + energy fee, incl. taxes
The price includes all taxes, demand and energy charges as well as other possible annual charges. Connection fees are excluded.
Source: Finnish Energy, District heating prices 07/2023
Chart: €/MWh
| 37257 | 37438 | 40909 | 41091 | 41275 | 41456 | 41640 | 41821 | 42005 | 42186 | 42370 | 42552 | 42736 | 42917 | 43101 | 43282 | 43466 | 43647 | 43831 | 44013 | 44197 | 44378 | 44562 | 44743 | 44927 | 45108 | 45474 | 45474
Detached house (600 m³) | 74.34 | 74.34 | 80.23 | 80.43 | 82.98 | 83.11 | 84.35 | 83.99 | 84.09 | 84.35 | 84.53 | 84.51 | 84.73 | 85.09 | 86.13 | 86.14 | 87.045 | 86.9948 | 88.098 | 88.9295 | 92.0343 | 94.4406 | 101.6265 | 103.2978 | 108.185 | 108.185
Terraced house/Block, small (5000 m³) | 68.62 | 69.33 | 74.57 | 74.75 | 75.99 | 76.29 | 77.67 | 77.06 | 77.15 | 77.36 | 78.28 | 78.32 | 78.64 | 79.45 | 81.65 | 81.84 | 82.521 | 82.5722 | 83.5897 | 85.4674 | 87.2483 | 89.3982 | 98.7454 | 99.4439 | 104.1726 | 104.1726
Block, large (20000 m³) | 64.97 | 65.01 | 69.98 | 69.63 | 70.32 | 70.47 | 71.98 | 71.78 | 71.58 | 71.91 | 72.76 | 72.81 | 73.5 | 74.78 | 77.07 | 76.8 | 76.7984 | 76.8611 | 77.8617 | 81.4389 | 83.2032 | 85.2072 | 96.2814 | 96.9163 | 98.921 | 98.921

## Slide 28: Development of the real price of district heat Corrected with cost-of-living index
Source: Finnish Energy, District heating prices 07/2023
Chart: 
| 01/10 | 01/11 | 01/12 | 01/12 | 01/14 | 01/15 | 01/16 | 01/17 | 01/18 | 01/19 | 01/20 | 01/21 | 01/22 | 01/23
Real price of district heat | 100 | 102.7298 | 111.9867 | 112.4294 | 115.9825 | 115.2833 | 123.5384 | 121.4945 | 122.9854 | 122.9443 | 125.9905 | 124.9738 | 125.1812 | 124.6918 | 126.0549 | 125.5782 | 125.9811 | 126.4257 | 130.001 | 128.9738 | 129.215 | 128.8603 | 129.8298 | 132.3584 | 131.4353 | 128.5539 | 138.5204 | 135.6208
Real price of district heat (excl. taxes) | 100 | 102.7298 | 104.7609 | 105.175 | 105.3256 | 104.6906 | 114.6015 | 112.7055 | 115.8512 | 115.8124 | 118.846 | 117.8871 | 116.1255 | 115.6715 | 118.5783 | 118.1299 | 118.2787 | 118.6961 | 122.4764 | 121.5087 | 121.5965 | 121.2628 | 122.4661 | 124.8512 | 123.3576 | 120.6532 | 135.9288 | 133.0834

## Slide 29: District heat consumption in 2023
Chart: 
| Housing | Industry | Others
 | 0.53645 | 0.094407 | 0.36914

## Slide 30: Distribution of customers according to connected heat load
Number of customers: 160 000
130 000 customers in residential buildings
3,0 million inhabitants
Chart: connected heat load, kW
| … - 20 kW (Detached house) | 21 - 290 kW (Block / Office building, small) | 291 - … kW (Block / Office building, large)
%-share, 1990 | 0.358 | 0.411 | 0.231
%-share, 1995 | 0.3597 | 0.4271 | 0.2132
%-share, 2000 | 0.373 | 0.431 | 0.196
%-share, 2005 | 0.4059 | 0.42299 | 0.17111
%-share, 2010 | 0.45273 | 0.39964 | 0.14763
%-share, 2015 | 0.45459 | 0.42304 | 0.12236
%-share, 2023 | 0.45936 | 0.43345 | 0.10719

## Slide 31: Production capacity and connected heat load of the customers
Chart: GW
| 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Production capacity | 2.409 | 2.647 | 3.171 | 3.442 | 4.271 | 4.654 | 5.519 | 6.554 | 7.326 | 7.78 | 8.367 | 9.127 | 10.546 | 11.389 | 11.939 | 12.632 | 13.269 | 14.081 | 14.453 | 15.221 | 15.512 | 16.13 | 16.29 | 16.09 | 16.28 | 17.12 | 17.29 | 17.47 | 17.526 | 17.81 | 17.99 | 18.22 | 19.0365 | 19.312 | 19.45 | 19.58 | 20.0763 | 20.3945 | 20.5 | 20.7872 | 21.6802 | 22.1472 | 22.1842 | 22.4809 | 22.5405 | 22.7931 | 22.7372 | 23.1854 | 23.368 | 23.5245 | 24.2283 | 24.2035 | 24.6964 | 25.0066
Connected heat load | 1.708 | 2.055 | 2.403 | 2.772 | 3.261 | 3.759 | 4.25 | 4.785 | 5.28 | 5.819 | 6.547 | 7.376 | 8.114 | 8.842 | 9.5 | 10.067 | 10.454 | 10.85 | 11.35 | 11.6 | 12.025 | 12.29 | 12.47 | 12.47 | 12.72 | 12.8061 | 12.9709 | 13.2798 | 13.5987 | 13.8211 | 14.1565 | 14.6058 | 14.91 | 15.3319 | 15.3953 | 15.5515 | 15.9727 | 16.3731 | 16.6466 | 17.178 | 17.7984 | 18.2133 | 18.458 | 18.568 | 18.6283 | 18.8617 | 18.8908 | 19.064 | 19.0346 | 19.0914 | 19.1879 | 19.2004 | 19.3548 | 19.4886

## Slide 32: Analysis

## Slide 33: Estimated monthly district heat demand
Year 2023 was 0,3 warmer than the normal period of 1991-2020.
However, monthly temperatures differed from the average year.
The January, February and summer months were warmer than normal, but March and the rest of the year were colder than normal.
The cold winter months exemplify the need for a wide palette of fuels to ensure the security of supply of heating.
Chart: GWh
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2020 | 3790.3598 | 3848.9515 | 3826.7429 | 3204.3677 | 2244.5901 | 678.7269 | 776.759 | 763.8341 | 1474.5464 | 2490.4794 | 3126.7958 | 3867.2989
2021 | 5086.1894 | 5185.7835 | 4239.9998 | 3077.7527 | 1992.3848 | 516.4653 | 513.7526 | 965.8531 | 2096.624 | 2474.9336 | 3724.5651 | 5424.4996
2022 | 4847.4973 | 4169.0842 | 4086.2024 | 3324.7146 | 2090.6332 | 634.8178 | 429.1804 | 365.5868 | 2105.903 | 2572.8273 | 3567.7963 | 4772.5158
2023 | 4329.389 | 4090.0883 | 4502.4146 | 2955.0874 | 1855.0627 | 717.2231 | 677.009 | 567.159 | 1049.9483 | 3278.3645 | 4106.5366 | 5083.4412
 | 4564.6401 | 4162.8319 | 3919.3538 | 2681.4612 | 1491.1705 | 527.273 | 129.5584 | 435.3918 | 1277.6661 | 2493.7227 | 3257.2478 | 4062.7374

## Slide 34: Comparison 2021 - Peak consumptions of district heat and electricity are close to each other
Chart: MW
Source: Finnish Energy, estimation is based on
Helen open data 2021
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Hourly consumption of district heat and electricity in 2021
Despite a significant difference in overall demand for electricity and heat, peak consumptions are relatively close to each other
Heat demand
Electricity demand

## Slide 35: Electricity vs heat demand in winter in 2021
Demand of district heating (DH) at the time of the peak consumption is about the same magnitude as the demand for electricity. On annual basis the demand of electricity is higher than DH (ca. 85 TWh vs. 35 TWh)
Combined Heat and Power (CHP) plants produce a significant amount of electricity (2 500 MW) while producing heat.
District heating reduces electricity demand peaks, in addition to electricity production

## Slide 36: Impact of electric boilers on fuel use – The electric boiler significantly reduced the fuel usage of the Seinäjoki district heating network
Chart: DH production, GWh
| 2022 | 2023
Kaukolämmön tuotanto | 523.9 | 549.2
Chart: Electricity production, GWh
| 2022 | 2023
Sähkön tuotanto | 156.7 | 68.7
Chart: Fuels, GWh
| 2022 | 2023
Polttoaineet | 829.8 | 570.8
-31 %
Although the need for district heating in the network grew slightly in Seinäjoki, 30% less fuels were used in the production of electricity and heat. The electric boiler produced about 20% of the heat demand of the network. In Seinäjoki, the commissioning of an electric boiler together with the falling market prices of electricity also decreased electricity production significantly.

## Slide 37: Future scenarios

## Slide 38: Use of fossil fuels and peat is declining rapidly
Chart: GWh
| 2021 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Coal | 4732.6503 | 3555.1815 | 2068.9332 | 701.8362 | 60.5918 | 51.7532 | 38.5996 | 32.5598 | 32.4947
Gas | 4105.606 | 2190.727 | 2270.6449 | 1766.7714 | 1438.3532 | 1565.3035 | 1569.8088 | 1332.0834 | 382.3958
Oil | 974.4669 | 393.3198 | 360.4818 | 171.3395 | 138.7935 | 146.0969 | 100.4301 | 86.1585 | 75.5338
Peat | 2796.2075 | 2019.834 | 1572.2502 | 1063.0728 | 703.6558 | 480.9572 | 381.5879 | 256.5588 | 159.1675

## Slide 39: The share of biomass and waste in district heating will decrease slightly towards the end of the decade
Chart: GWh
| 2021 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Biomass | 12093.1022 | 13837.66 | 14496.2534 | 13847.1987 | 13061.0001 | 12541.6229 | 12031.7848 | 11547.3526 | 11982.7086
Municipality waste | 2525.9156 | 2919.2427 | 2918.3588 | 2788.5796 | 2751.5996 | 2733.2151 | 2605.5318 | 2542.1309 | 2483.7246
Recycled fuels | 597.6229 | 569.091 | 656.4224 | 727.5218 | 716.6498 | 657.8309 | 598.7791 | 604.825 | 609.1243

## Slide 40: Electrifying district heat production replaces fossil fuels and peat and reduces the need for energy use of biomass
Chart: GWh
| 2021 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Electric boilers | 0 | 545.0053 | 1136.98 | 2668.6761 | 3627.9307 | 3320.9298 | 3143.078 | 2870.8824 | 3003.6808
Waste heat and heat pumps | 4399.0751 | 5322.7744 | 5882.0577 | 7631.5219 | 8799.3858 | 9739.979 | 10703.9801 | 11837.5809 | 12309.8638

## Slide 41: Energy sources for district heat supply 1990-2030
*includes heat pumps and heat recovery
Source for 2024-2030: Member survey in spring 2024
Chart: 
| 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
hiili | 0.436 | 0.451 | 0.41 | 0.412 | 0.402 | 0.375 | 0.3763 | 0.3611 | 0.2946 | 0.2782 | 0.2644 | 0.27427 | 0.26223 | 0.26059 | 0.25055 | 0.236 | 0.25409 | 0.23995 | 0.21754 | 0.22213 | 0.20477 | 0.22702 | 0.22332 | 0.24115 | 0.22424 | 0.19569 | 0.22914 | 0.22892 | 0.1944 | 0.17641 | 0.11486 | 0.11481 | 0.15235 | 0.080049 | 0.065969 | 0.022375 | 0.001936 | 0.0016568 | 0.0012382 | 0.0010466 | 0.0010469
öljy | 0.11 | 0.104 | 0.102 | 0.094 | 0.1 | 0.087 | 0.0824 | 0.0602 | 0.0709 | 0.0785 | 0.0841 | 0.091413 | 0.083644 | 0.080872 | 0.06411 | 0.057348 | 0.063641 | 0.065904 | 0.048745 | 0.072848 | 0.071663 | 0.046647 | 0.050259 | 0.0295 | 0.02814 | 0.029404 | 0.030642 | 0.021658 | 0.022122 | 0.019301 | 0.012498 | 0.029796 | 0.056688 | 0.027202 | 0.011494 | 0.0054625 | 0.0044346 | 0.0046769 | 0.0032216 | 0.0027695 | 0.0024335
maakaasu | 0.211 | 0.203 | 0.24 | 0.252 | 0.248 | 0.263 | 0.2594 | 0.2898 | 0.3424 | 0.3565 | 0.34489 | 0.31005 | 0.31767 | 0.30738 | 0.32993 | 0.33756 | 0.29743 | 0.29432 | 0.31545 | 0.28982 | 0.30221 | 0.24182 | 0.24772 | 0.22522 | 0.19554 | 0.16807 | 0.12541 | 0.099782 | 0.12643 | 0.10732 | 0.11397 | 0.10004 | 0.031217 | 0.062805 | 0.0724 | 0.056327 | 0.045957 | 0.050109 | 0.050357 | 0.042818 | 0.01232
turve | 0.199 | 0.199 | 0.205 | 0.195 | 0.195 | 0.217 | 0.214 | 0.2117 | 0.2005 | 0.1875 | 0.18992 | 0.20717 | 0.2048 | 0.21523 | 0.20151 | 0.17684 | 0.20067 | 0.21882 | 0.19641 | 0.17208 | 0.19224 | 0.19408 | 0.16163 | 0.13869 | 0.14576 | 0.16219 | 0.14744 | 0.14538 | 0.15534 | 0.15334 | 0.14104 | 0.10581 | 0.10135 | 0.083527 | 0.050132 | 0.033892 | 0.022482 | 0.015397 | 0.012241 | 0.0082468 | 0.005128
sähkökattila | 0.0015265 | 0.001675 | 0.0041644 | 0.0044507 | 0.0053572 | 0.0095731 | 0.00026613 | 0.0029493 | 0.0027895 | 0.0022559 | 1.5597e-05 | 0.00038437 | 0.0014543 | 0.020422 | 0.036253 | 0.08508 | 0.11592 | 0.10631 | 0.10083 | 0.092281 | 0.096772
hukkalämmöt | 0.0037171 | 0.0091128 | 0.01022 | 0.016319 | 0.015942 | 0.02025 | 0.022542 | 0.023852 | 0.031236 | 0.033995 | 0.020503 | 0.032805 | 0.031697 | 0.03348 | 0.037949 | 0.045369 | 0.082858 | 0.091731 | 0.091571 | 0.10574 | 0.13679 | 0.14062 | 0.13365 | 0.17115 | 0.18755 | 0.2433 | 0.28115 | 0.3118 | 0.34337 | 0.38051 | 0.3966
jäte | 0.016367 | 0.018049 | 0.019489 | 0.035125 | 0.051819 | 0.057849 | 0.065875 | 0.075626 | 0.072863 | 0.080138 | 0.091704 | 0.078059 | 0.084735 | 0.091183 | 0.093053 | 0.088903 | 0.087916 | 0.087497 | 0.083581 | 0.081714 | 0.08002
puu, muu bio | 0.022145 | 0.02156 | 0.023416 | 0.031934 | 0.042986 | 0.046541 | 0.055147 | 0.062894 | 0.066388 | 0.075 | 0.09802 | 0.092722 | 0.10453 | 0.10546 | 0.12635 | 0.15642 | 0.14392 | 0.13975 | 0.16322 | 0.1802 | 0.18143 | 0.22823 | 0.24684 | 0.28141 | 0.30562 | 0.32067 | 0.31155 | 0.32858 | 0.32844 | 0.34927 | 0.38551 | 0.42787 | 0.43596 | 0.46139 | 0.46222 | 0.44146 | 0.41731 | 0.40149 | 0.38596 | 0.37118 | 0.38606
muu | 0.021855 | 0.02144 | 0.019584 | 0.015066 | 0.012014 | 0.011459 | 0.012753 | 0.014306 | 0.025212 | 0.0243 | 0.014955 | 0.015253 | 0.016904 | 0.01415 | 0.011605 | 0.015578 | 0.017696 | 0.017405 | 0.027406 | 0.028922 | 0.009294 | 0.0096663 | 0.014884 | 0.010968 | 0.0055777 | 0.011187 | 0.0068207 | 0.005375 | 0.00604 | 0.0062109 | 0.0036086 | 0.002601 | 0.0025955 | 0.002271 | 0.02093 | 0.023194 | 0.022898 | 0.021059 | 0.019208 | 0.019441 | 0.019625