## Slide 1: Energy Year 2024 Electricity
15.1.2025
Preliminary data of electricity 2024

## Slide 2: Electricity total consumption 83 TWh, 3 percent increase compared to 2023
Chart: TWh
| 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Tilasto | 39.921 | 41.359 | 41.669 | 45.125 | 48.441 | 52.043 | 52.723 | 56.442 | 58.652 | 60.022 | 62.334 | 62.287 | 63.196 | 65.545 | 68.258 | 68.946 | 70.018 | 73.603 | 76.63 | 77.779 | 79.158 | 81.188 | 83.542 | 85.229 | 87.025 | 84.672 | 90.024 | 90.374 | 87.247 | 81.293 | 87.704 | 84.241 | 85.131 | 84.044 | 83.4 | 82.466 | 85.119 | 85.4489 | 87.4515 | 86.0754 | 81.684 | 87.0758 | 81.6389 | 80.007 | 82.7258

## Slide 3: Electricity consumption increased from the previous year, 2.7 TWh change 2023-2024
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
 | 6.411 | -3.463 | 0.89 | -1.087 | -0.644 | -0.934 | 2.653 | 0.32986 | 2.0027 | -1.3761 | -4.3914 | 5.3918 | -5.4369 | -1.6319 | 2.7188

## Slide 4: Development of industry and other electricity consumption
Chart: TWh
| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Industry | 43.538 | 43.094 | 44.341 | 44.992 | 46.795 | 43.68 | 47.83 | 47.677 | 44.259 | 37.304 | 41.466 | 40.357 | 39.321 | 39.833 | 39.25 | 39.103 | 39.702 | 39.924 | 40.746 | 39.796 | 36.862 | 38.531 | 35.597 | 34.099 | 34.157
Other consumption | 32.988 | 35.152 | 36.26 | 36.79 | 37.271 | 37.95 | 39.14 | 39.654 | 39.654 | 41.215 | 43.472 | 41.185 | 42.896 | 41.603 | 41.378 | 40.92 | 42.831 | 42.757 | 43.682 | 43.218 | 41.674 | 45.153 | 43.225 | 43.003 | 45.6014

## Slide 5: Electricity consumption 2024
Chart: 
| Housing and agriculture | Services and building | Losses | Forest industry | Chemical industry | Metal industry | Other industry
 | 30 | 25 | 4 | 18 | 7 | 10 | 6

## Slide 6: Electricity consumption of industry increased 0.2 percent Consumption total 34 TWh
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Forest industry | 22.13 | 21.533 | 20.443 | 20.15 | 19.578 | 19.333 | 19.485 | 19.908 | 20.055 | 19.553 | 17.284 | 18.085 | 15.935 | 14.946 | 15.361
Chemical industry | 6.788 | 7.032 | 6.752 | 7.123 | 6.926 | 6.784 | 6.981 | 6.885 | 7.174 | 7.026 | 6.68 | 6.378 | 6.491 | 6.244 | 6.086
Metal industry | 8.01 | 7.947 | 7.634 | 8.254 | 8.361 | 8.523 | 8.562 | 8.456 | 8.679 | 8.72 | 8.531 | 8.844 | 8.157 | 8.03 | 7.93
Other industry | 4.538 | 3.845 | 4.495 | 4.303 | 4.387 | 4.462 | 4.674 | 4.674 | 4.838 | 4.499 | 4.369 | 5.225 | 5.014 | 4.879 | 4.78

## Slide 7: Industrial electricity consumption 2022-2023: most of increase in forest industry
Chart: TWh
| Forest industry | Chemical industry | Metal industry | Other industry
 | 0.415 | -0.158 | -0.1 | -0.099

## Slide 8: Change of Industrial Electricity Consumption 2023-2024
Chart: %
| Forest industry | Chemical industry | Metal industry | Other industry
 | 2.7767 | -2.5304 | -1.2453 | -2.0291

## Slide 9: Electricity by energy source and net imports 2024
Chart: 
| Oil | Natural gas | Other fuels | Peat | Solar power | Coal | Net imports | Biomass | Hydro power | Wind power | Nuclear power
 | 0.3 | 0.8 | 1 | 1.1 | 1.4 | 1.5 | 3.8 | 11.4 | 17.1 | 24 | 37.6

## Slide 10: The share of CO2-neutral electricity 95 percent
Renewable: 56 % (52 % in year 2023)
CO2-neutral*: 95 % (94 % in year 2023)
Domestic: 57 % (54 % in year 2023)
*CO2-neutral energy sources are energy sources whose carbon dioxide impact is not reported in electricity production. The climate impact of biomass is calculated in the land use sector.
Chart: 
| Oil | Natural gas | Other fuels | Peat | Solar power | Coal | Biomass | Hydro power | Wind power | Nuclear power
 | 0.3 | 0.8 | 1.1 | 1.1 | 1.4 | 1.6 | 11.8 | 17.8 | 25 | 39.1

## Slide 11: Electricity production in Finland and net imports
Chart: 
| Solar power | Condense etc | Net imports | CHP, district heating | CHP, industry | Hydro power | Wind power | Nuclear power
 | 1.4 | 1.7 | 3.9 | 6.4 | 7.9 | 17.1 | 24 | 37.6
Chart: 
| Solar power | Condense etc | Net imports | CHP, district heating | CHP, industry | Hydro power | Wind power | Nuclear power
 | 0.9 | 2.3 | 2.2 | 8.2 | 8.6 | 18.8 | 18.1 | 40.9
2024
2023

## Slide 12: Fossil fuels have been replaced by renewables
Moving 12 months electricity production, % of consumption
Chart: % / 12 kk

## Slide 13: Net imports of electricity increased 84 percent (+1.5 TWh)
Imports decreased 10 % and exports 30 %
Imports from Nordics decreased 12 %
Exports to Estonia decreased 44 % but imports to Nordics increased 80 %
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Nordic countries | -4.972 | -3.3207 | -0.11528 | -0.329 | -0.132 | -0.065 | -0.108 | -0.12222 | -0.24547 | -0.10199 | -0.039603 | -0.032451 | -0.054623 | -0.90226 | -1.6255
Pohjoismaat, t | 2.114 | 5.2368 | 14.313 | 12.419 | 18.205 | 17.506 | 15.596 | 15.5718 | 13.8487 | 16.0687 | 18.7713 | 15.2896 | 15.7274 | 9.5989 | 8.4381
Venäjä, t | 11.638 | 10.7689 | 4.4028 | 4.713 | 3.385 | 3.926 | 5.858 | 5.7916 | 7.8497 | 7.5949 | 2.9814 | 9.1484 | 3.6367 | 0 | 0
Estonia | -0.246 | -0.484 | -1.53 | -1.544 | -3.523 | -5.034 | -3.0496 | -1.6558 | -2.3667 | -3.7943 | -6.6107 | -6.6914 | -6.8253 | -7.0175 | -3.9093
Viro t | 1.967 | 1.65 | 0.373 | 0.459 | 0.032 | 0.027 | 0.65525 | 0.84039 | 0.84965 | 0.27458 | 0.021611 | 0.053951 | 0.03327 | 0.045196 | 0.27766
Russia | -0.003 | -0.023 | -0.001 | -0.00012893 | -3.6701e-05 | -3.6701e-05 | -0.019503 | 0 | 0 | 0 | 0

## Slide 14: Net imports of electricity 2024 (3.2 TWh)
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
nettotuonti | 10.501 | 13.851 | 17.443 | 15.715 | 17.967 | 16.337 | 18.951 | 20.426 | 19.9358 | 20.0418 | 15.1046 | 17.7681 | 12.5175 | 1.7242 | 3.181

## Slide 15: Wind power generation increased 37 % in 2024
Chart: 
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Installed generation capacity at the end of the year (MW) | 109 | 142 | 146 | 196 | 199 | 259 | 453 | 631 | 1004 | 1532 | 2044 | 2041 | 2283.5 | 2585.6 | 3256.5 | 5676.71 | 6944.91 | 8358.41
Generation (GWh) | 188 | 261 | 277 | 294 | 481 | 494 | 774 | 1107 | 2327 | 3068 | 4795 | 5839 | 6025 | 7938 | 8179.5525 | 11559.6114 | 14464.5896 | 19853.8209

## Slide 16: Sustainability curve of wind power
Chart: Hours

## Slide 17: Hydro power generation
Average year
= hydropower production calculated when flows of built rivers are in average level
Chart: TWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
 | 12.743 | 12.278 | 16.667 | 12.672 | 13.24 | 16.584 | 15.634 | 14.6102 | 13.1374 | 12.2465 | 15.6693 | 15.6239 | 13.3372 | 15.0263 | 14.1467
 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1

## Slide 18: Generation and capacity of CHP in district heating
*Peak load capacity is not included from year 2017 *Source: Statistics Finland, Energy 2023 table service, table 3.5
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Electricity generation capacity in peak load period (MW)* | 3350 | 3490 | 3490 | 3550 | 3430 | 3350 | 3250 | 3021 | 3051 | 3051 | 3061 | 3097 | 3097 | 3030 | 3000
Generation (GWh) | 16909 | 14804 | 13897 | 13602 | 12785 | 12119 | 11988 | 11606.8463 | 12266.8553 | 11983.1537 | 9474.9632 | 10646.6238 | 8883.2857 | 6604 | 5290

## Slide 19: Generation and capacity of CHP in industry
*Source: Statistics Finland, Energy 2023 table service, table 3.5
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Electricity generation capacity in peak load period (MW)* | 2300 | 2365 | 2370 | 2330 | 2330 | 2250 | 2000 | 1990 | 2250 | 2250 | 2250 | 2250 | 2150 | 2070 | 1800
Generation (GWh) | 11189 | 10739 | 9389 | 9724 | 9277 | 8710 | 8879 | 9109.4837 | 9553.72 | 9575.513 | 8613.5695 | 9066.4659 | 7849.0573 | 6899 | 6549

## Slide 20: Generation and capacity of condensing power
*Peak load capacity is not included from year 2017 *Source: Statistics Finland, Energy 2023 table service, table 3.5
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Electricity generation capacity in peak load period (MW)* | 2200 | 2200 | 2045 | 2045 | 1650 | 1600 | 960 | 502 | 502 | 502 | 370 | 540 | 540 | 600 | 600
Generation (GWh) | 14179 | 9822 | 5177 | 8883 | 6379 | 4062 | 4319 | 3283.9079 | 4748.0292 | 3141.5234 | 2311.0761 | 2847.5865 | 2857.9717 | 1813 | 1429

## Slide 21: Electricity Generation with Coal, total of moving 12 months
Chart: GWh

## Slide 22: CO2-emissions of power generation have collapsed
CO2-emissions of power generation:
1.9 Mt in year 2024
2.6 Mt in year 2023
4.1 Mt in year 2022
6.4 Mt in year 2015
18 Mt in year 2010
2023 vs. 2022 -25 %
Emissions -55 % in last 5 years
Emissions -89 % vs 2010
Chart: 1000 tCO2
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Condense etc | 11333.8764 | 7439.2098 | 3774.7314 | 6569.3613 | 4710.871 | 2674.9376 | 3283.9517 | 2251.5513 | 3229.6019 | 1778.0325 | 1406.1841 | 1725.2489 | 1737.6864 | 1125.7712 | 784.3697
CHP | 6171.7181 | 5377.592 | 4619.2107 | 4346.5164 | 3989.3513 | 3752.252 | 4071.0662 | 3925.2973 | 4006.8483 | 3680.4745 | 2882.4023 | 2958.2378 | 2366.894 | 1458.6343 | 1155.0679
Specific carbon dioxide emissions | 226.7477 | 182.0825 | 124.0105 | 159.754 | 132.9628 | 97.1922 | 111.1564 | 94.9944 | 107.1817 | 82.6626 | 64.4208 | 67.598 | 59.3822 | 33.0217 | 24.3781
EU-27, v. 2023: 210 gCO2 /kWh Source: EEA

## Slide 23: Peak loads of electricity
Maximum electricity power /hour
Chart: MW
| 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Tilasto | 6600 | 6680 | 7120 | 7150 | 7720 | 8840 | 8870 | 10050 | 9480 | 9930 | 10450 | 10270 | 10400 | 10380 | 11300 | 10860 | 11220 | 11320 | 12190 | 13080 | 12400 | 13310 | 13550 | 14040 | 13570 | 13475 | 14849 | 14921 | 13816 | 13342 | 14624 | 14965 | 14441 | 14170 | 14388 | 13567 | 15149 | 14363 | 14184 | 14714 | 12844 | 14765 | 14035 | 13367 | 14914
Peak of year 2024 14 914 MW (3.1.2024) | 13367 | 14914

## Slide 24: Electricity supply hourly in year 2024 peak load day 3.1.
Chart: MW
| 1 13750 | 2 13612 | 3 13440 | 4 13422 | 5 13500 | 6 13628 | 7 14036 | 8 14229 | 9 14506 | 10 14530 | 11 14542 | 12 14673 | 13 14680 | 14 14582 | 15 14596 | 16 14737 | 17 14758 | 18 14849 | 19 14836 | 20 14914 | 21 14775 | 22 14359 | 23 14435 | 24 14287
Nuclear power | 4361.6525 | 4351.486 | 4351.9131 | 4361.5336 | 4361.1522 | 4361.0183 | 4347.8616 | 4340.3109 | 4348.6624 | 4354.5314 | 4359.6411 | 4359.33 | 4359.0317 | 4359.1644 | 4358.7754 | 4359.2724 | 4359.5159 | 4362.138 | 4362.095 | 4361.7639 | 4359.8545 | 4359.5936 | 4359.3611 | 4359.4233
Hydro power | 2025.6141 | 1838.387 | 1646.7086 | 1444.2171 | 1330.3631 | 1386.5292 | 1695.8039 | 1892.6963 | 2245.238 | 2152.2968 | 2151.8628 | 2242.5331 | 2215.3981 | 2276.3107 | 2241.9785 | 2256.3611 | 2213.1759 | 2151.1089 | 1991.3956 | 2029.106 | 1987.7165 | 2031.8986 | 1894.909 | 1699.5875
Wind and solar power | 1440.1177 | 1585.2969 | 1751.4269 | 1934.082 | 2006.4912 | 2009.0333 | 1978.0088 | 1860.1315 | 1946.0061 | 1903.9881 | 1898.8197 | 1828.307 | 1721.8121 | 1564.6266 | 1578.1145 | 1676.1653 | 1884.7725 | 2030.5742 | 2089.69 | 2031.9628 | 1971.1828 | 1889.2621 | 1945.0687 | 1935.0999
CHP | 2722.6425 | 2701.0492 | 2699.5107 | 2679.2468 | 2640.868 | 2668.0582 | 2784.6075 | 3015.8264 | 3127.1528 | 3164.8363 | 3122.7778 | 3139.7594 | 3224.4238 | 3274.1729 | 3307.1428 | 3338.053 | 3347.455 | 3367.0536 | 3338.0714 | 3313.5197 | 3275.5898 | 3315.0976 | 3197.2001 | 3151.9799
Condence etc | 226.1879 | 248.2569 | 260.3266 | 280.4428 | 271.5896 | 273.1566 | 276.2111 | 264.1777 | 268.6793 | 266.2362 | 324.3044 | 271.959 | 291.7694 | 302.7444 | 306.279 | 285.2087 | 282.2234 | 280.5978 | 264.6635 | 258.9852 | 261.1626 | 271.9703 | 269.0965 | 271.8229
Net imports | 2974.0484 | 2887.5352 | 2729.6249 | 2722.1416 | 2889.3457 | 2930.0956 | 2953.1825 | 2856.1874 | 2570.703 | 2688.2979 | 2684.8832 | 2830.9519 | 2867.1932 | 2805.2553 | 2803.2852 | 2822.333 | 2671.0633 | 2657.3516 | 2789.7752 | 2919.1403 | 2919.3941 | 2491.3591 | 2769.7547 | 2868.6865

## Slide 25: Variation of Electricity Production in 2024
Average week power
Chart: MW /week
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
Nuclear power | 4352.9762 | 4356.5476 | 4327.9762 | 4354.1667 | 4163.6905 | 4358.9286 | 4280.9524 | 4291.0714 | 3957.1429 | 2798.8095 | 2766.6667 | 2800 | 2801.7857 | 2789.2857 | 2777.9762 | 2798.8095 | 2749.4048 | 1895.8333 | 2229.1667 | 2327.9762 | 3228.5714 | 3263.6905 | 3148.8095 | 3344.0476 | 3607.7381 | 3928.5714 | 4107.1429 | 4141.6667 | 4101.1905 | 4111.9048 | 4027.9762 | 3518.4524 | 3608.3333 | 3451.1905 | 3533.3333 | 3707.7381 | 2739.2857 | 2899.4048 | 2877.381 | 2880.3571 | 3725 | 3883.3333 | 3874.4048 | 3942.8571 | 4153.5714 | 3911.3095 | 2997.619 | 4163.6905 | 4199.4048 | 4154.7619 | 4044.6429 | 3823.2143
Hydro power | 1870.8333 | 1678.5714 | 1920.8333 | 1499.4048 | 1277.381 | 1930.9524 | 1583.9286 | 1603.5714 | 1631.5476 | 1904.1667 | 1682.1429 | 1740.4762 | 1702.381 | 1585.7143 | 1470.2381 | 1991.6667 | 2220.2381 | 2127.381 | 2273.2143 | 2069.6429 | 1942.2619 | 2098.2143 | 2045.8333 | 2001.1905 | 1845.2381 | 1762.5 | 1594.6429 | 1686.3095 | 1885.7143 | 1575.5952 | 1221.4286 | 1167.2619 | 1184.5238 | 863.6905 | 902.9762 | 1266.6667 | 1281.5476 | 1644.6429 | 1385.7143 | 1759.5238 | 1413.6905 | 1442.2619 | 1233.9286 | 1368.4524 | 1442.8571 | 1239.2857 | 1514.2857 | 1434.5238 | 1577.381 | 1480.9524 | 1526.7857 | 1313.6905
Wind power | 1680.3571 | 3267.8571 | 2279.7619 | 3310.119 | 4636.9048 | 1144.6429 | 3251.7857 | 2824.4048 | 2597.619 | 498.8095 | 2392.8571 | 2006.5476 | 1634.5238 | 2526.1905 | 2444.6429 | 1966.6667 | 1513.6905 | 1395.2381 | 1710.7143 | 1614.2857 | 1235.7143 | 856.5476 | 966.6667 | 849.4048 | 1363.6905 | 1550 | 1685.119 | 1541.6667 | 759.5238 | 610.7143 | 1051.7857 | 1123.2143 | 1280.9524 | 2811.3095 | 2704.7619 | 1567.8571 | 2411.9048 | 2044.6429 | 3100.5952 | 1960.119 | 3194.0476 | 3241.6667 | 3306.5476 | 3498.8095 | 3080.9524 | 3442.8571 | 3388.6905 | 3271.4286 | 3490.4762 | 4652.9762 | 2419.0476 | 3480.9524
Solar power | 5.3571 | 5.9524 | 7.1429 | 9.5238 | 18.4524 | 28.5714 | 29.1667 | 28.5714 | 39.2857 | 71.4286 | 67.8571 | 80.3571 | 116.6667 | 115.4762 | 155.9524 | 154.7619 | 160.7143 | 241.6667 | 250.5952 | 292.8571 | 304.1667 | 313.6905 | 304.7619 | 301.7857 | 292.2619 | 320.8333 | 275 | 287.5 | 275.5952 | 289.881 | 232.7381 | 251.7857 | 231.5476 | 212.5 | 194.0476 | 183.3333 | 135.119 | 133.9286 | 99.4048 | 95.8333 | 57.1429 | 56.5476 | 43.4524 | 33.9286 | 23.2143 | 13.6905 | 10.7143 | 3.5714 | 4.7619 | 5.3571 | 2.9762 | 1.7857
CHP | 3055.3571 | 2216.6667 | 2777.9762 | 1907.1429 | 1257.7381 | 2854.1667 | 2101.1905 | 1820.2381 | 1879.1667 | 2633.9286 | 1861.9048 | 1650 | 1437.5 | 1258.9286 | 1023.8095 | 1510.7143 | 1673.8095 | 1167.2619 | 1277.381 | 1039.881 | 808.3333 | 755.9524 | 869.6429 | 919.0476 | 843.4524 | 885.119 | 910.7143 | 876.1905 | 865.4762 | 725 | 804.1667 | 853.5714 | 755.3571 | 708.9286 | 806.5476 | 802.9762 | 818.4524 | 897.619 | 804.7619 | 1267.2619 | 827.381 | 950 | 916.6667 | 1139.2857 | 1385.7143 | 1233.3333 | 1808.3333 | 1511.9048 | 1777.9762 | 1664.2857 | 2031.5476 | 1452.9762
Condense etc | 353.5714 | 247.0238 | 320.2381 | 239.2857 | 182.1429 | 313.6905 | 211.9048 | 201.1905 | 193.4524 | 256.5476 | 207.1429 | 180.3571 | 164.2857 | 140.4762 | 136.9048 | 165.4762 | 171.4286 | 129.7619 | 134.5238 | 127.381 | 103.5714 | 100.5952 | 116.6667 | 105.9524 | 95.8333 | 99.4048 | 100 | 98.8095 | 97.0238 | 85.7143 | 97.0238 | 137.5 | 133.3333 | 136.3095 | 137.5 | 142.8571 | 140.4762 | 164.2857 | 139.881 | 164.2857 | 132.7381 | 151.1905 | 142.8571 | 141.6667 | 160.7143 | 163.6905 | 169.6429 | 170.2381 | 166.6667 | 207.7381 | 208.9286 | 167.8571

## Slide 26: Electricity price statistics 2024

## Slide 27: The development of annual prices in Finland relative to the Consumer price Index
Data: Nord Pool & Tilastokeskus
The inflation-adjusted wholesale electricity price in Finland
Chart: EUR/MWh
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Suomen inflaatiokorjattu sähkön hinta | 75.4337 | 63.4479 | 45.8639 | 50.7858 | 43.9783 | 36.2892 | 39.5574 | 40.1656 | 56.0255 | 52.1856 | 33.1016 | 83.6375 | 166.2292 | 57.3453 | 45.57

## Slide 28: Finland has the second lowest electricity prices in Europe
Data: Energy-Charts
Electricity wholesale prices in year 2024 (EU + Norway ja Switzerland)
Chart: EUR/MWh
| Sweden* | Norway* | Finland | France | Spain | Portugal | Belgium | Denmark* | Switzerland | Netherlands | Germany & Luxembourg | Average | Austria | Czech | Estonia | Lithuenia | Latvia | Slovenia | Slovakia | Croatia | Poland | Hungary | Greece | Bulgaria | Romania | Ireland | Italy*
2024 | 35.77 | 42.04 | 45.58 | 58.02 | 63.04 | 63.46 | 70.32 | 70.86 | 75.96 | 77.29 | 78.51 | 81.2031 | 81.54 | 85.11 | 87.28 | 87.35 | 87.44 | 91.29 | 92.88 | 94.69 | 96.26 | 100.81 | 100.88 | 102.55 | 103.52 | 109.01 | 109.82

## Slide 29: Price differentials between regions have increased, with Finland following Stockholm
Chart: EUR/MWh
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Finland | 35.3 | 27.68 | 30.53 | 48.57 | 30.01 | 51.02 | 36.98 | 56.64 | 49.3 | 36.64 | 41.16 | 36.02 | 29.66 | 32.45 | 33.19 | 46.8 | 44.04 | 28.02 | 72.34 | 154.04 | 56.46 | 45.57
Stockholm (SE3) | 36.49 | 28.08 | 29.76 | 48.12 | 30.25 | 51.12 | 37.01 | 56.82 | 48 | 32.32 | 39.45 | 31.62 | 22 | 29.24 | 31.24 | 44.54 | 38.36 | 21.19 | 66 | 129.21 | 51.7 | 35.77
Northern Sweden (SE1) | 36.49 | 28.08 | 29.76 | 48.12 | 30.25 | 51.12 | 37.01 | 56.82 | 47.8 | 31.72 | 39.19 | 31.42 | 21.16 | 28.95 | 30.84 | 44.23 | 37.94 | 14.39 | 42.49 | 59.06 | 39.97 | 25.05
SE1 & SE3 between years from 2003 to 2011 = The price of Sweden before splitting the country into four bidding zones Data: Nord Pool
Electricity wholesale prices in the Finnish and Swedish (SE1 & SE3) price areas annually
The Aurora 1 transmission connection, scheduled to be completed in 2025, is expected to reduce the price difference between Finland and Northern Sweden.

## Slide 30: Price gap to Sweden monthly in year 2024
Data: Nord Pool
Chart: EUR/MWh
| January | February | March | April | May | June | July | August | September | October | November | December
Finland | 106.22 | 51.58 | 59.38 | 48.92 | 35.13 | 36.09 | 16.74 | 12.53 | 56.02 | 40.64 | 45.34 | 38.79
Sweden (SE3) | 71.24 | 44.71 | 52.6 | 48.5 | 20.37 | 24.15 | 18 | 7.41 | 14.49 | 20.19 | 57.76 | 50.54

## Slide 31: The connection of wind power to the price
Data: Entso-e & Energiateollisuus
On windy days the price of electricity is often close to zero, on days with little wind the price is higher
The amount of wind power is the biggest factor affecting prices, but many other factors also affect prices:
  Regarding demand, e.g. day of the week, time of day, heating demand, industrial occupancy rate, etc.
  Regarding supply, e.g. availability of power plants and border lines, fuel and emission costs, water situation, etc.
October wind power production & wholesale price of electricity (daily averages)
Chart: EUR/MWh
| 45566 | 45567 | 45568 | 45569 | 45570 | 45571 | 45572 | 45573 | 45574 | 45575 | 45576 | 45577 | 45578 | 45579 | 45580 | 45581 | 45582 | 45583 | 45584 | 45585 | 45586 | 45587 | 45588 | 45589 | 45590 | 45591 | 45592 | 45593 | 45594 | 45595 | 45596
Spot price | 55.9317 | 241.0992 | 185.4667 | 77.8133 | 89.975 | 36.0842 | 106.9554 | 29.9904 | 5.3013 | 10.3104 | 9.5092 | 12.6204 | 10.9738 | 128.1208 | 42.9492 | 12.5842 | 1.3475 | 3.9688 | 4.9617 | 1.1675 | -0.935 | 2.7713 | 0.50625 | 62.0838 | 16.0217 | 43.6475 | -0.142 | 3.185 | 39.0488 | 1.3767 | 26.5946
Wind power | 3597.7948 | 380.335 | 510.1998 | 2581.5077 | 1563.0339 | 2258.6435 | 1296.5198 | 3366.2185 | 5082.8618 | 4260.1812 | 3265.6005 | 2395.299 | 2694.9354 | 228.5729 | 1931.1622 | 3650.1484 | 4850.0777 | 4404.6321 | 2918.6701 | 4551.4147 | 4117.608 | 4177.765 | 3981.684 | 2213.3255 | 2900.3175 | 1474.8051 | 4086.4213 | 4085.1522 | 4084.5921 | 5142.9525 | 2184.6016

## Slide 32: The development of the inflation-adjusted wholesale electricity price
Data: Nord Pool & Statistics Finland
The inflation-adjusted wholesale electricity price in Finland monthly
Chart: EUR/MWh

## Slide 33: Weekly prices of electricity in 2021 to 2024
Data: Nord Pool
Wholesale electricity prices in Finland weekly
Chart: EUR/MWh

## Slide 34: The amount of hours with negative or zero price has growed sharply
Data: Entso-e
The number of negative electricity prices has significantly increased due to the rapid growth of wind power.
Low and negative electricity prices incentivize investments in flexible demand, such as batteries and electric boilers –electricity capacity of electric boilers connected to district heating networks soon exceeding 1 GW.
About 10 % of the year’s hours are either negative or zero-priced
The number of hours of negative and 0-price electricity prices in Finland
Chart: No. of hours
| 2020 | 2021 | 2022 | 2023 | 2024
Negative hours | 9 | 5 | 27 | 467 | 725
0-price hours | 2 | 0 | 7 | 69 | 175

## Slide 35: Negative hours and price spikes are not just a Finnish phenomenon
Data: Entso-e & Nord Pool
The number of hours of high and negative electricity prices in 2024
Chart: 
| Suomi | Tukholma (SE3) | Kööpenhamina (DK2) | Oslo (NO1) | Saksa | Ranska | Viro
Number of negative hours | -725 | -649 | -275 | -231 | -457 | -352 | -183
Number of hours over 200 EUR/MWh | 178 | 50 | 128 | 39 | 129 | 25 | 400

## Slide 36: On average, electricity is cheap, but the price varies widely
Data: Entso-e
Weekly average price & weekly maximum and minimum price range
Chart: Week
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51
Min. | 21.09 | 34.28 | -0.01 | -2.5 | 4.99 | 9.99 | -0.98 | -0.02 | 50.01 | -0.11 | 10.35 | 9.86 | -10 | -3.09 | -1.73 | 15.12 | 1.9 | -6.58 | -15.07 | -6.05 | -2.01 | -6.58 | -0.89 | -8.25 | -2.42 | -19.9 | -10 | -9.99 | 1.52 | -1.57 | -15 | -0.8 | -20.01 | -1.99 | 0.01 | -1.09 | 0.01 | -1.77 | 0 | -2.07 | -2.01 | -3 | -3 | 0 | -1.51 | 1.93 | -1.18 | -0.46 | -0.3 | -0.05
Range of variation | 1874.77 | 277.93 | 241.31 | 145.89 | 55.26 | 244.95 | 90.99 | 95.79 | 111.14 | 149.98 | 142.71 | 122.7 | 162.29 | 259.96 | 89.02 | 167.62 | 187.41 | 396.03 | 305.13 | 413.05 | 71.05 | 251.93 | 256.62 | 300.51 | 143.22 | 39.69 | 59.21 | 45.93 | 39.89 | 98.47 | 63.34 | 43.17 | 140.89 | 90.61 | 75.17 | 249.97 | 394.38 | 476.8 | 140 | 500.08 | 252.03 | 287.13 | 157.54 | 158.45 | 180.43 | 222.94 | 174.08 | 201.24 | 273.25 | 300.29 | 203.48
Average price of electricity | 242.5908 | 82.785 | 92.1163 | 46.2145 | 10.9458 | 103.7534 | 45.4594 | 39.6458 | 39.835 | 84.5106 | 49.5524 | 55.8725 | 53.7563 | 40.1111 | 20.3036 | 58.3822 | 76.5904 | 51.2131 | 46.5428 | 30.4755 | 11.4833 | 37.0055 | 44.207 | 60.1104 | 24.3115 | 19.2416 | 16.7185 | 12.0863 | 16.7089 | 22.6948 | 16.5926 | 10.7007 | 23.1032 | 5.8286 | 6.558 | 44.7047 | 72.2183 | 85.9064 | 25.2336 | 108.9068 | 26.523 | 27.8714 | 17.602 | 12.3841 | 45.688 | 30.9487 | 67.3142 | 49.0019 | 58.818 | 37.1396 | 65.778

## Slide 37: Consumers’ electricity bills have significantly decreased over the past year
Data: Statistics Finland
Chart: The development of electricity bill Household consumer, annual consumption 5,000 – 15,000 kWh
Chart: The shares of different components in the electricity bill for a household customer with an annual consumption of 5,000 – 15,000 kWh
| Sähköenergia (veroton) | Verkkopalvelumaksu (veroton) | Verot (sähkövero ja alv.)
syyskuu 24 | 7.743 | 5.279 | 4.928

## Slide 38: Electricity price outlook: Prices in Finland and Sweden are significantly cheaper than in Central Europe
Data: Nord Pool, Nasdaq Commodities & EEX
Realized wholesale electricity price and futures 7.1.2025
Chart: EUR/MWh
| 43466 | 43497 | 43525 | 43556 | 43586 | 43617 | 43647 | 43678 | 43709 | 43739 | 43770 | 43800 | 43831 | 43862 | 43891 | 43922 | 43952 | 43983 | 44013 | 44044 | 44075 | 44105 | 44136 | 44166 | 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958 | 44986 | 45017 | 45047 | 45078 | 45108 | 45139 | 45170 | 45200 | 45231 | 45261 | 45292 | 45323 | 45352 | 45383 | 45413 | 45444 | 45474 | 45505 | 45536 | 45566 | 45597 | 45627 | 45658 | 45689 | 45717 | 45748 | 45778 | 45809 | 45839 | 45870 | 45901 | 45931 | 45962 | 45992 | 46023 | 46054 | 46082 | 46113 | 46143 | 46174 | 46204 | 46235 | 46266 | 46296 | 46327 | 46357 | 46388 | 46419 | 46447 | 46478 | 46508 | 46539 | 46569 | 46600 | 46631 | 46661 | 46692 | 46722 | 46753 | 46784 | 46813 | 46844 | 46874 | 46905 | 46935 | 46966 | 46997 | 47027 | 47058 | 47088
Futuurit | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500

## Slide 39: The low carbonization of traffic is progressing

## Slide 40: Petrol and diesel car sales in Finland (new passenger cars, plug-in hybrid cars not included)
Source: Traficom
Chart: No.
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Petrol | 77927 | 79034 | 84700 | 82334 | 62967 | 56632 | 43330 | 34358 | 33371
Diesel | 39463 | 36064 | 28936 | 21863 | 14134 | 10632 | 7046 | 5057 | 3799

## Slide 41: Alternative power sources for the first registration of passenger cars
Source: Traficom
Chart: %
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Electric cars | 0.18739 | 0.42332 | 0.64396 | 1.6611 | 4.4027 | 10.3086 | 17.7858 | 33.7523 | 29.524
Plug-in hybrid cars | 1.0151 | 2.1528 | 4.0928 | 5.2249 | 13.7234 | 20.4537 | 19.7931 | 20.669 | 20.0656
Gas cars | 0.13866 | 0.36513 | 0.96345 | 1.8756 | 1.9094 | 0.92302 | 0.72827 | 0.51767 | 0.1539

## Slide 42: Alternative power sources in passenger cars in traffic by end of the year
Source: Traficom
Chart: No.
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Electric vehicles | 614 | 844 | 1449 | 2404 | 4661 | 9697 | 22921 | 44889 | 83762 | 118297
Gas vehicles | 1508 | 1825 | 3161 | 5607 | 9388 | 12366 | 14395 | 15622 | 16402 | 16654
Plug-in hybrid cars | 1017 | 2437 | 5719 | 13095 | 24704 | 45621 | 76990 | 104039 | 135106 | 166849

## Slide 43: Electricity consumption of passenger cars 2022-2060
Source: Scenarios for energy consumption of road transport, VTT
Chart: GWh
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060
Sähkö | 360.8793 | 582.8431 | 823.4186 | 1094.4094 | 1391.9225 | 1716.4957 | 2078.5577 | 2493.8418 | 2973.69 | 3470.6395 | 3977.1328 | 4487.5175 | 4997.087 | 5498.7894 | 5979.6325 | 6430.0473 | 6854.3828 | 7251.1191 | 7621.6071 | 7959.1337 | 8268.1396 | 8560.0778 | 8819.3295 | 9050.6775 | 9247.7659 | 9415.1508 | 9554.0498 | 9665.925 | 9740.9849 | 9876.045 | 9989.9937 | 10084.0927 | 10159.6865 | 10218.0438 | 10260.4193 | 10288.0779 | 10302.2508 | 10304.1413 | 10294.8514